[image: image1.wmf]
Phoenix Fire Department

Fire Prevention Division

PERMIT TO DISPLAY LIQUID/GAS FUELED
VEHICLES AND EQUIPMENT
All liquid/gas fueled vehicles and equipment displayed in the Phoenix Convention Center shall conform to the following Phoenix Fire Code requirements:
1. Fuel tanks (gas or diesel) shall be limited to no more than a quarter of a tank or five gallons (18.9 L) which ever is less.

2. Fuel transfer line between two or more tanks shall be disconnected or secured to prevent the transfer of fuel between tanks.

3. All fuel tank openings shall be satisfactorily sealed to prevent tampering.  (“duct” tape equivalent).

4. No fueling and/or defueling shall be done on City of Phoenix property. This includes inside the building, loading docks, CPEG marshalling yard, Tonto yard, and adjacent streets.

5. The hot (red) lead battery cable shall be disconnected from the battery terminal and remain disconnected while the vehicle is on display.  The loose cable shall be covered in tape to prevent electrical continuity.

6. At no time will LPG (liquefied petroleum gas), CNG (compressed natural gas), or nitrous oxide be allowed on display vehicle(s).  Tanks shall be inert or removed prior to the vehicle being displayed.

7. All parts of the vehicle shall be in the booth and outside of the aisle.  This includes mirrors, doors, bumpers, tail beds.
8. Electric vehicles shall be rendered inoperable as follows:
    Removing fuses.

  Operating a shut-off switch.

Chocking the tires.

DO NOT disconnect the battery.

9. Alternative fueled vehicles shall not be located indoors without approval from the Fire Marshal.

	Security Use Only

	Booth # / Name:

	Vehicle Type/Make and Color:

	Loading Dock Inspection

	
	Yes/No

	Fuel Level Approved (see item # 1 above)
	 

	Show Floor Inspection

	
	Yes/No

	Fuel Tank Sealed (see item # 3 above)
	 

	Battery Cable Disconnected (see item # 5 above)
	 


