## Slide 1: SCADA SET UP
BY BILL PITTMAN

## Slide 2: PROGRESS IS SOMETIMES GOOD

## Slide 3: What does SCADA mean?
Supervisory
Control
And
Data
Acquisition

## Slide 4: When was SCADA first used?
SCADA started in the early 70’s
SCADA is used in all types of utilities
Early SCADA was for IT types only
SCADA evolved to be used by modern day operator

## Slide 5: Monitor vs. Control
Monitor
Visual
Alarm notifications
24-hour SURVEILLANCE
control
ON and OFF with a click
Emergency control when distance is factor
Comes with responsibility

## Slide 6: Best Practices
RELATIONSHIPS
SCADA works best when there is a working relationship between SCADA user & IT department
KNOWLEDGE
Know your system limits
GOALS
What are you wanting to achieve?
PEOPLE
Who will have access?

## Slide 7: Understanding Your System
/
Operators are in touch with their plants
1
Operators understand how it lives and breathes
2
Operators can be reluctant to change
3

## Slide 8: Analog & Digital
analog
Give an example of something analog
Digital
Give an example of something digital

## Slide 9: What is a PLC?
Give an example of how PLC functions within a SCADA system?

## Slide 10: Highs & Lows
Know your plants highs and lows
What are examples of highs and lows?
Are they analog or digital?

## Slide 11
SCADA as a source of records
EFFICIENT
With a good SCADA system regulatory agencies can reduce onsite visits
1
FAST
SCADA can provide useful information such as 24-hour trends with the click of a button
2
CONVENIENT
The use of mobile technology for SCADA is a key part of the operator evolution.
3

## Slide 12: Q&A
Bill Pittman, U.S. Water