### FLORIDA RURAL WATER ASSOCIATION

2970 Wellington Circle  Tallahassee, FL 32309-6885

Telephone: 850-668-2746 ~ frwa@frwa.net

Emergency Response & Cyber Security Plan

For Public Drinking Water Systems

Per Chapter 62-555.350 (15) F.A.C.

Disaster Specific Preparedness / Response Plan

Preparing an emergency response plan is an essential part of managing a drinking water system and is required by Chapter 62-555 FAC for community systems serving 350 or more people.  The Florida Rural Water Association has made this template and guide available to assist public water systems in the development of Emergency Response Plans. The template and guide is made possible through a grant and has been reviewed by the Florida Department of Environmental Protection (FDEP).

Water System:    Click or tap here to enter text.

Street Address:    Click or tap here to enter text.

City, State, Zip:     Click or tap here to enter text.

Phone:     Click or tap here to enter text.

Contact:     Click or tap here to enter text.

E-mail:     Click or tap here to enter text.

Connections:     Click or tap here to enter text.

Population:     Click or tap here to enter text.

PWS:     Click or tap here to enter text.

County:     Click or tap here to enter text.

Date:     Click or tap here to enter text.

### Table of Contents

Table of Contents

FLORIDA RURAL WATER ASSOCIATION	1

Table of Contents	2

Section 1 ~ Emergency Response Plans Requirements	4

Section 2 ~ System Information	5

Water System Demands	5

Location of Pertinent Information	5

Surface Water Sources	5

Well Information	6

High Service Pumps	8

Tanks	9

Standby Power for Wells, Treatment & Distribution	10

Disinfection Treatment Information	10

Other Chemical Information	10

Section 3 ~ Communication Charts	11

Water System Chain of Command – Lines of Authority	11

Designated Public Spokesperson	12

Emergency Notification List	12

Priority Customers	13

Service / Repair Notifications	14

Section 4 ~ Written Agreements with Other Agencies, Utilities, or Response Organizations	15

Section 5 ~ Health Advisories – Boil Water Notice	15

Section 6 ~ Disaster Specific Procedures	16

Pre- Hurricane	17

(36 – 48 hrs prior to arrival)	17

Pre- Flood	20

Section 12	23

Training and Rehearsals	23

Section 13	23

Plan Approval	23

# Section 1 ~ Emergency Response Plans Requirements

This worksheet has been developed to help you prepare your Emergency Response Plan.

Chapter 62-555.350 (15) of the Florida Administration Code (FAC) requires that Community Water Systems serving 350 or more persons or 150 or more service connections to develop a written Disaster-Specific Preparedness / Response Plan (a.k.a. Emergency Response Plan or ERP) and shall update and implement the plan as necessary.

Plans are to be coordinated with Local Emergency Planning Committee and Florida Department of Law Enforcement Regional Security Task Force when developing emergency plans and shall include.

- Communication Charts

- Written Agreements with Other Agencies, Utilities, or Response Organizations

- A disaster-specific preparedness/response plan shall incorporate the results of a Vulnerability Assessment for each of the following disasters:

| - Vandalism or Sabotage - Drought - Hurricane - Structure Fire | - Flood, if applicable - Forest or Brush Fire - Hazardous Material Release - Cyber Security |
| --- | --- |

- Standby Power Requirements

- Recommendations regarding the amount of Drinking Water Treatment Chemicals

It is recommended that you provide two copies to each supervisor, with instructions for them to store one copy on-site and one off-site to ensure that the document is available to them at all times. ERP’s should not be stored where they are

However, upon completion, DO NOT submit your ERP to the Florida Department of Environmental Protection (FDEP) OR the Environmental Protection Agency (EPA). FDEP will verify ERP completion during their Sanitary Survey of your system (routine water system inspection).

# Section 2 ~ System Information

Based on Monthly Operation Reports and Sanitary Survey.

| ## Water System Demands |  |
| --- | --- |
| Permitted System Capacity (gpd) | Click or tap here to enter text. |
| Average Daily Demand (gpd) | Click or tap here to enter text. |
| Maximum Daily Demand (gpd) | Click or tap here to enter text. |
| Peak Hour Demand (gpd) | Click or tap here to enter text. |

| ## Location of Pertinent Information |  |
| --- | --- |
| Distribution System Map | Click or tap here to enter text. |
| O&M Manual(s) | Click or tap here to enter text. |
| Start-Up / Shut-Down Procedures | Click or tap here to enter text. |
| Permits, Sanitary Surveys and Correspondence with FDEP | Click or tap here to enter text. |
| Monthly Operation Reports | Click or tap here to enter text. |
|  | Click or tap here to enter text. |

| ## Surface Water Sources |  |  |
| --- | --- | --- |
| Surface Water Intake | 1 | 2 |
| Location (Street / Description) | Click or tap here to enter text. | Click or tap here to enter text. |
| GPS Latitude | Click or tap here to enter text. | Click or tap here to enter text. |
| GPS Longitude | Click or tap here to enter text. | Click or tap here to enter text. |
| Critical Water Level | Click or tap here to enter text. | Click or tap here to enter text. |

| ## Well Information |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Well Number | 1 | 2 | 3 | 4 | 5 |
| WTP Name |  |  |  |  |  |
| Florida Well ID | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Address (Street) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Year Drilled | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Depth Drilled | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| GPS Latitude | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| GPS Longitude | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Florida Well ID | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Static Water Level | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Length (outside casing) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Diameter (outside casing) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Material (outside casing) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Well Contamination History | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Is inundation of well possible? | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Pump Type | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Pump Manufacturer | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Pump Model Number | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Pump Stages | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Pump Rated Capacity | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Motor Horsepower | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Phase, Volts, Amps | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |  |  |

| ## High Service Pumps |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pump Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 Spare |
| Address (Street) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Pump Type | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Pump Manufacturer | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Pump Model Number | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Pump Rated Capacity | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Motor Horsepower | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Phase, Volts, Amps | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Suction Diameter (in) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Discharge Diameter (in) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

| ## Tanks |  |  |  |  |
| --- | --- | --- | --- | --- |
| Tank Number | 1 | 2 | 3 | 4 |
| Location/Address | Click or tap here to enter text. | Click or tap here to enter text. |  |  |
| Tank Type | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Capacity (gal) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Material | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| By-pass Piping | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Gravity Drain | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| PRV / ARV | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Protected Openings / Padlocked | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Pressure Gauge | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

| ## Standby Power for Wells, Treatment & Distribution |  |
| --- | --- |
| Standby Power (or alternate means) OPERATE WELLS at Average Daily Demand |  |
| Average Daily Demand (ADD) in gpd or gpm | Click or tap here to enter text.(gpd or gpm) |
| Wells Needed to Supply Average Daily Demand | Click or tap here to enter text.(Well No & gpm) |
| Standby Generator for ADD (kW, Voltage & phases) | Click or tap here to enter text.(kW, Volt, Phase) |
| Power Failure Transfer, Alarms & Notifications | Click or tap here to enter text. |
| Generator Fuel Consumption | Click or tap here to enter text. (gal per hour) |
| On-Site Fuel Storage (gallons) | Click or tap here to enter text.(gal & days) |
| Reserve Fuel by Supplier Contract | Click or tap here to enter text. (gal & days) |

| ## Disinfection Treatment Information |  |  |  |
| --- | --- | --- | --- |
| Disinfection Chemicals | Chemical / Location No. 1 | Chemical / Location No. 2 | Chemical / Location No. 3 |
| Type of Chemical | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Chemical Feed Type | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Injector Location | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Storage Location | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| 2-wks Min Storage (gal) Recommended | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

| ## Other Chemical Information |  |  |  |
| --- | --- | --- | --- |
| Chemicals | Chemical / Location No. 1 | Chemical / Location No. 2 | Chemical / Location No. 3 |
| Type of Chemical | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Chemical Feed Type | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Injector Location | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Storage Location | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| 2-wks Min Storage (gal) Recommended | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

# Section 3 ~ Communication Charts

| ## Water System Chain of Command – Lines of Authority |  |  |  |
| --- | --- | --- | --- |
| Order | Name, Title & Responsibilities | Contact Information |  |
| 1 | Water System Manager (WSM) Responsible for overall management and decision-making. The Water System Manager takes the lead for managing the emergency, coordinating with support agencies, and providing information to regulatory agencies. | Phone: | Click or tap here to enter text. |
|  |  | Cell: | Click or tap here to enter text. |
|  |  | Email: | Click or tap here to enter text. |
| 2 | Water Treatment Plant Operator (WTPO) In charge of running water treatment plant, performing inspections, maintenance and sampling and relaying critical information, assessing facilities, and providing recommendations to the Water System Manager. | Phone: | Click or tap here to enter text. |
|  |  | Cell: | Click or tap here to enter text. |
|  |  | Email: | Click or tap here to enter text. |
| 3 | Office Administrator Responsible for administrative functions in the office including receiving phone calls and keeping a log of events. This person will provide a standard pre-scripted message to those who call with general questions. Additional information will be released through the Water System Manager. | Phone: | Click or tap here to enter text. |
|  |  | Cell: | Click or tap here to enter text. |
|  |  | Email: | Click or tap here to enter text. |
| 4 | Maintenance Staff Delivers door hangers and assists water system operator. | Phone: | Click or tap here to enter text. |
|  |  | Cell: | Click or tap here to enter text. |
|  |  | Email: | Click or tap here to enter text. |

| ## Designated Public Spokesperson |  |  |  |
| --- | --- | --- | --- |
| Public Spokesperson | Name & Position | Telephone | Cell Phone |
| Spokesperson | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Alternate Spokesperson | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

Develop possible messages in advance, and update them as the emergency develops (Boil Water Notices, Emergency Water Outages, Emergency Conservation Measures, Water Quality Issues, etc.)

| ## Emergency Notification List |  |  |  |  |
| --- | --- | --- | --- | --- |
| We recommend that you establish a relationship with these agencies before you need them! |  |  |  |  |
| Organization or Department | Name & Position | Telephone | Cell Phone | e-mail |
| State Watch Office | Duty Officer | 800-320-0519 | 800-320-0519 | N/A |
| ###### Local Law Enforcement | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Fire Department | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Emergency Medical Services |  | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Water Operator (if contractor) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| County Health Department | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| DEP District Office | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| County Emergency Management Dept. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Local Leader (City Mgr., Mayor, Commission Chair, Dept Head, etc.) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Hazmat Team / Hotline | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Interconnected Water System(s) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Neighboring Water System (not connected) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| FRWA Water Circuit Rider | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

| ## Priority Customers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization Or Department | Name & Position | Telephone | Cell Phone | email |
| ###### Hospital / Clinic | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Nursing Home(s) | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Public Schools | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Private Schools | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| WW Treat Plant | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

| ## Service / Repair Notifications |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization Or Department | Name & Position | Telephone | Cell Phone | email |
| ###### Electric Utility Co | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Water Test Lab | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Telephone Co | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Pump Supplier | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Safe Dig / One Call | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Rental Equip | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Chlorine Supplier | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Chem Suppliers | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |
| Bulk / Bottled Water | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

# Section 4 ~ Written Agreements with Other Agencies, Utilities, or Response Organizations

Attach all written agreements.

☐   Emergency Interconnect Agreements

☐   Memoranda / Letters of Understanding

☐   FlaWARN (Agreement is available at: https://flawarn.pwd.aa.ufl.edu/)

☐   State Mutual Aid Agreements  (guidelines available at: smaa-reimbursement-guide-2024_final.pdf)

☐   Mutual Aid Agreements with Utilities (list these agreements) Click or tap here to enter text.

☐   Other  Click or tap here to enter text.

# Section 5 ~ Health Advisories – Boil Water Notice

Use the assistance of your County Health Department and/or District FDEP office, and FDEP’s mandatory health effects language, located on FDEP’s website at:

https://www.floridahealth.gov/community-environmental-public-health/environmental-public-health/water-quality/drinking-water/public-drinking-water-systems-in-florida/boil-water-notice-guidelines/

# Section 6 ~ Disaster Specific Procedures

The following tables outline possible actions and procedures to be taken in response to specific events.

| Table A-Vandalism or Sabotage Response Procedures |  |
| --- | --- |
| 1 | Utility Staff becomes First Aware of Incident: - Calls Water system Manager - Calls 9 1 1 / Local Law Enforcements |
| 2 | Water System Manager determines the Severity of Incident, and Calls: - Mayor (Owner) who informs board / commissioners (if necessary, calls for emergency meeting of board / commission) - State Warning Point |
| 3 | Water System Manager determines the need to contact others: - County Emergency Management Director - County Health Department - others as needed |
| 4 | Water System Manager assesses damage and directs repairs as needed: - Isolate components (if necessary) - Minimize damage - Repair facilities |
| 5 | Upon completion of repairs, Water System Manager returns system to normal: - Reports findings to Mayor and others as needed - Updates ERP as needed |

| Table B-Drought Response Procedures |  |
| --- | --- |
| 1 | Water System Manager coordinates with Mayor and Water Management District (WMD) regarding drought conditions |
| 2 | If necessary, Mayor meets with Commission regarding additional (more stringent than required by WMD) restrictions |
| 3 | Mayor directs Water System Manager to implement additional water use restrictions, if necessary |
| 4 | Water System Manager activates Customer Notification Plan |
| 5 | City Commission determines there is no further need for additional restrictions |
| 6 | Water System Manager returns system to normal by activating Customer Notification Plan |
| 7 | Water System Manager reports system status as needed |
| 8 | Water System Manager updates ERP as needed |

| Table C-Hurricane Preparedness & Response Procedures |  |
| --- | --- |
| # Pre- Hurricane # (36 – 48 hrs prior to arrival) | - Water System Manager coordinates with Mayor and County Emergency Management regarding response to hurricane - Manager checks operation of auxiliary and standby equipment - Manager orders/ensures available fuel and treatment chemicals to provide for a fourteen (14) day period - Manager checks and replenishes inventory of spare parts, supplies; rain suits, flashlights, batteries, portable radios, hard hats, rubber boots, gloves, etc - Manager ensures proper staff have access to WaterTracker for updates on system. - Manager ensures all proper FDEM and FlaWARN Mutual Aids are signed by Authorized representative. |
| Hurricane Watch (24 -36 hrs prior to arrival) | - County Emergency Manager declares Emergency; - Mayor instructs Water System Manager to coordinate with Emergency Operations Center - Mayor cancels personal leave - Water System Manager issues work assignments and reporting protocol - Water System Manager authorizes employees to secure their personal property and arrange for safety of family members - Employee(s) top-off fuel in vehicles, stand-by and portable equipment - Water System Manager stops all construction in utility service area and advises contractors to secure their equipment/material |
| Hurricane Warning (24 hrs or less prior to arrival) | - Personnel report to duty at designated location with protective gear, work clothing and personal gear for a four (4) day period - Water Treatment Plant Operator fills all water storage facilities to capacity - Employee(s) load trucks with supplies and equipment - Employee(s) follow evacuation protocol (directed by Emergency Management) - Disconnect electrical power supply to treatment plant(s) and wells - Store vehicles and equipment in designated area - Enact system shutdown and evacuate to location as directed by Incident Commander |
| Recovery Procedures | Initiate upon receiving “All Clear” from Incident Commander: - Manager surveys damage and submits Damage Assessment Report to Mayor - Manager coordinates with County Emergency Management Dept and activates Customer Notification Plan, if necessary - Manager notifies FDEP of any limitations in ability to supply potable water - Manager and staff make all necessary repairs and take water samples as needed - Manager keeps detailed records of labor, material, rental and repair costs for FEMA reimbursement - Manager obtains FDEP approval to return to normal operation, if necessary - Manager returns system to normal operation - Manager activates Customer Re-notification Plan, if necessary - Manager reports water system information as needed - Manager updates ERP as needed |

| Table D-Structure Fire Response Procedures (if your water plant catches fire) |  |
| --- | --- |
| 1 | Utility Staff becomes aware of/ discovers Fire: - Orders evacuation of the building - Calls 9-1-1 to notify Fire Department and local Law Enforcement - Calls Water System Manager |
| 2 | Water System Manager determines the Severity of Incident, and Calls: - Mayor (Owner) who informs board / commissioners (if necessary, calls for emergency meeting of board / commission) - State Warning Point |
| 3 | Water System Manager determines the need to contact others: - County Emergency Management Director - County Health Department - others as needed |
| 4 | Water System Manager directs staff to support Fire Department and other emergency staff, if needed |
| 5 | Manager and staff assess damage when fire extinguished |
| 6 | Manager and staff repair facilities as needed |
| 7 | Manager reports water system status, as required |
| 8 | Manager updates ERP, as needed |

| Table E-Forest/Brush Fire Response Procedures |  |
| --- | --- |
| 1 | Utility Staff discovers/ becomes aware of Fire: - Calls 9-1-1 to notify Fire Department and local Law Enforcement/ - Calls Water System Manager |
| 2 | Water System Manager determines the Severity of Incident, and Calls: - Mayor (Owner) who informs board / commissioners (if necessary, calls for emergency meeting of board / commission) - State Warning Point/County Emergency Management Director - Water System Manager ensures staff evacuations as needed. |
| 3 | Water System Manager determines the need to contact others: - County Health Department - others as needed |
| 4 | Water System Manager directs staff to support Fire Department and other emergency staff, if needed |
| 5 | Manager and staff assess damage when fire extinguished |
| 6 | Manager and staff repair facilities as needed |
| 7 | Manager reports water system status, as required |
| 8 | Manager updates ERP, as needed |

| Table F Flood Preparedness & Response Procedures |  |
| --- | --- |
| (as it relates to CWS) |  |
| # Pre- Flood | - Monitor weather and stream/river flow conditions to anticipate potential flooding conditions. Sign up for US Geological Survey’s (USGS) WaterAlert service to receive an email or text message alert when the river gauges that you have identified surpass specified parameters. - Consult Federal Emergency Management Agency (FEMA) flood maps (https://msc.fema.gov/portal/home) to determine which locations in your service area are most vulnerable to flooding. - Water System Manager coordinates with Mayor and County Emergency Management regarding response to hurricane - Conduct briefings, training and exercises to ensure utility staff is aware of all preparedness, response and recovery procedures. - Manager checks operation of auxiliary and standby equipment (move critical mobile equipment to higher ground.) - Manager orders/ensures available fuel and treatment chemicals to provide for a fourteen (14) day period - Employee(s) top-off fuel in vehicles, stand-by and portable equipment - Manager checks and replenishes inventory of spare parts, supplies; rain suits, flashlights, batteries, portable radios, hard hats, rubber boots, gloves, etc - Manager ensures proper staff have access to WaterTracker for updates on system. - Manager ensures all proper FDEM and FlaWARN Mutual Aids are signed by Authorized representative. - Water System Manager stops all construction in utility service area and advises contractors to secure their equipment/material - Complete pre-disaster activities to help apply for federal disaster funding (e.g., contact state/ local officials with connections to funding, set up a system to document damage and costs, take photographs of the facility for comparison to post-damage photographs). |
| Active Flood | - Develop an emergency drinking water supply plan and establish response partner contacts (potentially through your local emergency management agency [EMA] or mutual aid network) to discuss procedures, which may include bulk water hauling, mobile treatment units or temporary supply lines, as well as storage and distribution. - Personnel report to duty at designated location with protective gear, work clothing and personal gear for a four (4) day period - Water Treatment Plant Operator fills all water storage facilities to capacity - Employee(s) load trucks with supplies and equipment - Employee(s) follow evacuation protocol (directed by Emergency Management) - Disconnect electrical power supply to treatment plant(s) and wells - Store vehicles and equipment in designated area - Enact system shutdown and evacuate to location as directed by Incident Commander |
| Recovery Procedures | Initiate upon receiving “All Clear” from Incident Commander: - Manager surveys damage and submits Damage Assessment Report to Mayor - Manager coordinates with County Emergency Management Dept and activates Customer Notification Plan, if necessary - Manager notifies FDEP of any limitations in ability to supply potable water - Manager and staff make all necessary repairs and take water samples as needed - Manager keeps detailed records of labor, material, rental and repair costs for FEMA reimbursement - Manager obtains FDEP approval to return to normal operation, if necessary - Manager returns system to normal operation - Manager activates Customer Re-notification Plan, if necessary - Manager reports water system information as needed - Manager updates ERP as needed |

| Table G-Hazardous Material Release Response Procedures |  |
| --- | --- |
| 1 | Utility Staff becomes First Aware of Incident: - Calls Water System Manager - Calls 9-1-1 / Local Law Enforcement |
| 2 | Water System Manager determines the Severity of Incident, and Calls: - Mayor (Owner) who informs board / commissioners (if necessary, calls for emergency meeting of board / commission) - State Warning Point |
| 3 | Water System Manager determines the need to contact others: - County Emergency Management Director - County Health Department - others as needed |
| 4 | Water System Manager assesses damage and directs repairs as needed: - Isolate components (if necessary) - Minimize damage - Repair facilities |
| 5 | Upon completion of repairs, Water System Manager returns system to normal: - Reports findings to Mayor and others as needed - Updates ERP as needed |

# Section 12

# Training and Rehearsals

This information is useful and recommended for inclusion in your ERP, it is not required by DEP in Chapter 62-555.350 (15)

| Event | Description | People & Organizations Involved | Date |
| --- | --- | --- | --- |

# Section 13

# Plan Approval

This information is useful and recommended for inclusion in your ERP, it is not required by DEP in chapter 62-555.350 (15)

This plan is officially in effect when reviewed, approved, and signed by the following people:

| Name | Title | Signature | Date |
| --- | --- | --- | --- |

(B) Bladder (CW) Clearwell (C) Contact (E) Elevated (G) Ground (H) Hydropneumatic