Disaster-Specific

Preparedness/Response Plan

for Public Drinking Water Systems

Per Chapter 62-555.350 (15) F.A.C.

XYZ Water System

Insert

your system name here

Template

Insert your system information here

Address: 	123 Main Street

PO Box 123

Sample, FL 33333

Phone: 	850-123-4567

Fax: 	850-123-4568

Contact: 	Mayor Jane Doe

E-mail: 	JaneDoe@web.com

Connections: 	400

PWS: 	5555555

County: 	Any County

| Department of Environmental Protection | FRWA Security Staff Sterling L. Carroll, P.E. |
| --- | --- |

For more information or additional copies of this document contact:

### FLORIDA RURAL WATER ASSOCIATION

2970 Wellington Circle ~ Suite 101 ~ Tallahassee

Telephone: 850-668-2746 ~ Fax: 850-893-4581

e-mail: FRWA@frwa.net

Table of Contents

Preface	Chapter 62-555.350 (15) FAC	1

Section 1 	Communication Charts	2

Section 2 	Written Agreements With Other Agencies, 	7

Utilities, or Response Organizations

Section 3 	Disaster-Specific Preparedness/Response Plan 	8

Vulnerability Assessment		8

A. 	Vandalism Or Sabotage	9

B. 	Drought	9

C. 	 Hurricane	9

D. 	Structure Fire	10

E. 	Flood	10

F. 	Forest or Brush Fire	10

G. 	 Hazardous Material Release	11

H. 	 Other Disasters	11

Section 4 	Standby Power Requirements 	12

Section 5 	Drinking Water Treatment Chemicals & Disinfectants	14

Appendices

A. 	Basic System Information	15

B. 	Training and Rehearsals	18

C. 	Plan Approval 	19

This template and guide has been developed by the Florida Rural Water Association (FRWA) in collaboration with the Washington State Department of Health, Office of Drinking Water, Olympia, Washington; and reviewed by Florida Department of Environmental Protection.

Acknowledgment of federal government support of this project:

This project and the preparation of this booklet was funded in part by a Water Protection Coordination grant from the Environmental Protection Agency through an agreement/contract with the Drinking Water Program of the Department of Environmental Protection.  Total cost of the project was $3,000 of which $3,000 or 100 percent, was provided by the U.S. Environmental Protection Agency.

Preface

Chapter 62-555.350 (15) FAC

Disaster-Specific Preparedness/Response Plans

(15) Suppliers of water who own or operate a community water system serving, or designed to serve, 350 or more persons or 150 or more service connections shall develop a written emergency preparedness/response plan in accordance with Emergency Planning for Water Utilities, AWWA Manual M19, as adopted in Rule 62-555.335, F.A.C., by no later than December 31, 2004, and shall update and implement the plan as necessary thereafter. Said suppliers of water shall coordinate with their Local Emergency Planning Committee and their Florida Department of Law Enforcement Regional Security Task Force when developing their emergency plan and shall include in their plan all of the information in paragraphs (a) through (e) below.

- A Communication Charts as described in Chapter 5 of AWWA Manual M19.

- Written agreements with other agencies, utilities, or response organizations.

- A disaster-specific preparedness/response plan as described in Chapter 5 of AWWA Manual M19 for each of the following disasters: vandalism or sabotage; a drought; a hurricane; a structure fire; and if applicable, a flood, a forest or brush fire, and a hazardous material release. Each disaster-specific preparedness/response plan shall incorporate the results of a vulnerability assessment; shall include actions and procedures, and identify equipment, that can obviate or lessen the impact of such a disaster; and shall include plans and procedures that can be implemented, and identify equipment that can be utilized, in the event of such a disaster.

- Details about how the water system meets the standby power requirements under subsection 62-555.320(14), F.A.C., and, if applicable, recommendations regarding the amount of fuel to maintain on site, and the amount of fuel to hold in reserve under contracts with fuel suppliers, for operation of auxiliary power sources.

- If applicable, recommendations regarding the amount of drinking water treatment chemicals, including chemicals used for regeneration of ion-exchange resins or for onsite generation of disinfectants, to maintain in inventory at treatment plants.

Specific Authority 403.861(9) FS. Law Implemented 403.852(12), 403.853(6), 403.861(17) FS. History-New 11-19-87, Formerly 17-22.650, Amended 1-18-89, 1-1-93, Formerly 17-555.350, Amended 8-28-03.

Time Extension for Submitting/Completing ERP – December 31, 2005

From: 	Hoofnagle, Van

Sent: 	Thursday, October 21, 2004 11:25 AM

Subject: 	Time Extension for Submitting/Completing ERP

Importance: 	High

I am sending this e-mail because of possible confusion in some FDEP District Offices or ACHDs regarding the deadline for compliance with the emergency preparedness/response plan requirements in FAC subsection 62-555.350(15).

As John Sowerby and other staff mentioned during Focus On Change presentations early this year on FAC Rule 62-555.350 and during training this summer on the recent amendments to FAC Chapter 62-555, the FDEP intends to amend FAC subsection 62-555.350(15) to give all affected community water systems (i.e., all community water systems serving 350 or more persons or 150 or more service connections) until the end of 2005 instead of the end of this year to complete a comprehensive emergency preparedness / response plan as required by FAC subsection 62-555.350(15).  At this point, it will likely be after the end of this year before we officially make this change to FAC subsection 62-555.350(15).  In the meantime, please do not take any enforcement action against community water systems who fail to meet the 12/31/04 deadline in FAC subsection 62-555.350(15).  Thanks.

Van Hoofnagle

DEP Drinking Water Administrator

Section 1

Communication Charts

The first response step in any emergency is to inform the person at the top of this list, who is responsible for managing the emergency and making key decisions.  List the water system chain of command in order of contact.

Water System Chain of Command – Lines of Authority

| Order | Name & Title | Responsibilities During an Emergency | Contact Information |
| --- | --- | --- | --- |
| 1 |  |  | Phone: Cell: Email: |
| 2 |  |  | Phone: Cell: Email: |
| 3 |  |  | Phone: Cell: Email: |
| 4 |  |  | Phone: Cell: Email: |
| 5 |  |  | Phone: Cell: Email: |
| 6 |  |  | Phone: Cell: Email: |
| 7 |  |  | Phone: Cell: Email: |

Emergency Notification

Notification call-up lists - Use these lists to notify important parties of an emergency.

| Emergency Notification List |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization or Department | Name & Position | Telephone | Cell Phone | e-mail |
| State Warning Point | Duty Officer | 800-320-0519 | 800-320-0519 | N/A |
| Local Law Enforcement |  |  |  |  |
| Fire Department |  |  |  |  |
| Emergency Medical Services |  |  |  |  |
| Water Operator (if contractor) |  |  |  |  |
| County Health Department |  |  |  |  |
| DEP District Office |  |  |  |  |
| County Emergency Management Dept. |  |  |  |  |
| Local Leader (City Mgr., Mayor, Chair. Co. Comm., etc.) |  |  |  |  |
| Local Hazmat Team (if any) |  |  |  |  |
| Hazmat Hotline |  |  |  |  |
| National Spill Response Center. | Duty Officer | 800-424-8802 | 800-424-8802 | N/A |
| Interconnected Water System(s) |  |  |  |  |
| Neighboring Water System (not connected) |  |  |  |  |
| FRWA Water Circuit Rider |  | 850-668-2746 |  |  |

| Priority Customers |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization Or Department | Name & Position | Telephone | Cell Phone | email |
| Hospital Or Clinic(s) |  |  |  |  |
| Nursing Home(s) |  |  |  |  |
| Public Schools |  |  |  |  |
| Private Schools |  |  |  |  |
| Wastewater Treatment Plant |  |  |  |  |
| Food Processing Or Other Industry |  |  |  |  |

| Service / Repair Notifications |  |  |  |  |
| --- | --- | --- | --- | --- |
| Organization Or Department | Name & Position | Telephone | Cell Phone | email |
| Electric Utility Co. |  |  |  |  |
| Electrician |  |  |  |  |
| Gas / Propane Supplier |  |  |  |  |
| Water Testing Lab. |  |  |  |  |
| Sewer Utility Co. |  |  |  |  |
| Telephone Co. |  |  |  |  |
| Plumber |  |  |  |  |
| Pump Supplier |  |  |  |  |
| "Dig Safe" or “One Call” |  |  |  |  |
| Rental Equip. Supplier |  |  |  |  |
| Chlorine Supplier |  |  |  |  |
| Other Chemical Suppliers |  |  |  |  |
| Radio/SCADA Repair Co. |  |  |  |  |
| Bottled Water Service |  |  |  |  |
| Bulk Water Supplier |  |  |  |  |
| Well Drilling Co. |  |  |  |  |
| Pipe Supplier |  |  |  |  |

Designated Public Spokesperson and Alternates

Designate a spokesperson (alternates) for delivering messages to the news media & public

| Public Spokesperson | Name & Position | Telephone | Cell Phone |
| --- | --- | --- | --- |
| Spokesperson |  |  |  |
| Alternate 1 |  |  |  |
| Alternate 2 |  |  |  |

Key Messages

Develop possible messages in advance, and update them as the emergency develops

Health Advisories – Boil Water Notices

Use the assistance of your County Health Department and/or District FDEP office, and FDEP’s Mandatory Health Effects Language, located on FDEP’s website at:

http://www.doh.state.fl.us/environment/water/manual/boil.htm

http://www.DEP.state.fl.us/water/drinkingwater/rules.htm,

and click on “Mandatory Health Effects Language”., PLUS EPA’s templates at:

http://epa.gov/safewater/pn.html

Click on “Microsoft Word and Word Perfect files of PN templates” (PN means Public Notifications), then determine which “Tier” of notifications is needed and click on the desired software to receive them in.

Section 2

Written Agreements With Other Agencies, Utilities, or Response Organizations

INSERT BELOW information regarding any written agreements with other agencies, utilities, or response organizations, such as emergency interconnects, mutual aid or FlaWARN.

Emergency Interconnect(s)

Information on the location of interconnection(s) (if any), type and size of interconnecting pipe, pumps and accessory equipment, meters at interconnection(s), normal pressures at both ends of interconnection, volume of water from interconnection(s), type of agreement and approvals needed for use, procedures necessary to use interconnection, etc.

| Location (Street) |  |
| --- | --- |
| Location (GPS) |  |
| Description |  |

Memoranda of Understanding

| Organization |  |
| --- | --- |
| Summary of Understanding |  |

Mutual Aid Agreements

| Organization |  |
| --- | --- |
| Summary of Understanding |  |

FlaWARN 	 WEBSITE FOR AGREEMENT: www.flawarn.org

| Organization |  |
| --- | --- |
| Summary of Understanding |  |

Section 3

Disaster-Specific Preparedness/Response Plan

Your disaster-specific preparedness/response plan must include a Vulnerability Assessment and preparedness / response plans for: vandalism or sabotage; a drought; a hurricane; a structure fire; and if applicable, a flood, a forest or brush fire, and a hazardous material release.

In any event there are a series of general steps to take:

- Confirm and analyze the type and severity of the emergency.

- Take immediate actions to save lives.

- Take action to reduce injuries and system damage.

- Make repairs based on priority demand.

- Return the system to normal operation.

Vulnerability Assessment

It is essential that water systems identify and assess the vulnerability of each system component for both natural and human-caused emergencies, before preparing their disaster-specific preparedness/response plans.  Prepare your Vulnerability Assessment by completing the table below:

Facility Vulnerability Assessment

| System component | Description and condition | Vulnerability | Security improvements (indicate existing or proposed) |
| --- | --- | --- | --- |
| Raw Water Sources |  |  |  |
| Pump-house and pumping facilities |  |  |  |
| Treatment Facilities |  |  |  |
| Storage Facilities |  |  |  |
| Distribution System |  |  |  |
| Computer and telemetry systems |  |  |  |

A. Vandalism or Sabotage Response Procedures

1. Utility staff first aware of incident: a) b) 2. a) b) 3. a) b)

B. Drought Response Procedures

Include water use restrictions per Consumptive Use Permit

1. a) b) 2. a) b) 3. a) b)

C. Hurricane Preparedness & Response Procedures

| # Pre- Hurricane # (36 to 48 hrs prior to arrival) | 1. 2. 3. |
| --- | --- |
| Hurricane Watch (24 to 36 hrs prior to arrival) | 1. 2. 3. |
| Hurricane Warning (24 hrs or less prior to arrival) | 1. 2. 3. |
| Recovery Procedures | 1. 2. 3. |

D. Structure Fire Response Procedures

1. Utility staff discovering fire: a) b) 2. a) b) 3. a) b)

E. Flood Preparedness & Response Procedures

Is any critical part of your system in a flood prone area?  If so, this procedure is required.

1. a) b) 2. a) b) 3. a) b)

F. Forest or Brush Fire Response Procedures

Is any critical part of your system subject to forest or brush fire?  If so, this procedure is required.

1. a) b) 2. a) b) 3. a) b)

G. Hazardous Material Release Response Procedures

Do you have any hazardous material (chlorine gas) at your water system?  If so, this procedure is required.

1. a) b) 2. a) b) 3. a) b)

H. Other Disaster Response Procedures

NONE OF THIS EXAMPLE IS REQUIRED by DEP in Chapter 62-555.350(15).  Use it only if there are other disasters that you want to prepare for, such as a Contamination Event, SCADA Attack, or Structural Damage from an Intentional Act?

Contamination 1. a) b) 2. a) b) SCADA Attack 1. a) b) 2. a) b) Structural Damage from an Intentional Act 1. a) b) 2. a) b)

Section 4

Standby Power Requirements

Include details about how the water system meets the standby power requirements as described in Ch. 62-555.320(14), and 62-555.350(15)(d) FAC for water source, treatment, and pumping facilities necessary to deliver drinking water at a rate at least equal to the Average Daily Water Demand.

Standby Power for Wells or Surface Water Intakes

Standby Power (or by alternate means) to OPERATE WELLS at Average Daily Demand

| Average Daily Demand (ADD) in gpd or gpm |  |
| --- | --- |
| Wells Needed to Supply Average Daily Demand |  |
| Standby Generator (kW) Needed for ADD & |  |
| Power Failure Transfer, Alarms & Notifications |  |
| Generator Fuel Consumption | gallons per hour |
| Recommended On-Site Fuel Storage (gallons) |  |
| Reserve Fuel by Supplier Contract |  |

Standby Power for Treatment Facilities

Standby Power (or by alternate means) to TREAT WATER at Average Daily Demand

| Treatment Facilities Needed to Supply ADD |  |  |
| --- | --- | --- |
| Standby Generator (kW) Needed to Operate ADD Treatment Facilities |  |  |
| Power Failure Transfer, Alarms & Notifications |  |  |
| Generator Fuel Consumption | gallons per hour |  |
| Recommended On-Site Fuel Storage (gallons) |  |  |
| Reserve Fuel by Supplier Contract |  |  |

Standby Power for Pumps

Standby Power (or by alternate means) to PUMP WATER at Average Daily Demand

| Pumps Needed to Supply ADD |  |
| --- | --- |
| Standby Generator (kW) Needed to Pump ADD |  |
| Power Failure Transfer, Alarms & Notifications |  |
| Generator Fuel Consumption | gallons per hour |
| Recommended On-Site Fuel Storage (gallons) |  |
| Reserve Fuel by Supplier Contract |  |

Section 5

Drinking Water Treatment Chemicals & Disinfectants

Include recommendations regarding the amount of drinking water treatment chemicals, to maintain in inventory at treatment plants. Do not just list chemical storage capacity, but instead recommend the minimum amount of chemicals to maintain in inventory, which depends upon the location and reliability of chemical suppliers, the status of impending disasters, etc.

Disinfection Treatment Information

| Disinfection Chemical(s) | Chemical / Location No. 1 | Chemical / Location No. 2 |
| --- | --- | --- |
| Name of Chemical |  |  |
| Type of Chemical Feed |  |  |
| Chemical Storage Location |  |  |
| Recommended Minimum Amount to be Maintained in Storage (gal) |  |  |

Other Chemical Information

| Chemical(s) Used | Chemical #1 | Chemical #2 | Chemical #3 | Chemical #4 |
| --- | --- | --- | --- | --- |
| Name of Chemical |  |  |  |  |
| Type of Chemical Feed |  |  |  |  |
| System Location |  |  |  |  |
| Chemical Storage Location |  |  |  |  |
| Recommended Minimum Amount to be Maintained in Storage (gal) |  |  |  |  |

Appendix A

Basic System information

This information is useful and recommended for inclusion in your ERP, it is not required by DEP in Chapter 62-555.350(15).

Keep this basic information readily available for when you need it for emergency responders, repair people, the news media and potentially, an emergency operator.

## Basic System Information

## GPS coordinates will help emergency crews find your system following a major catastrophe.

| System identification number (PWS ID) |  |  |
| --- | --- | --- |
| System name and address |  |  |
| GPS Coordinates | Latitude: | Longitude: |
| Basic description and location of system facilities |  |  |
| Population served and service connections. | Population = | Connections = |
| System Owner |  |  |
| Management Authority |  |  |
| Name, title, and phone numbers of person responsible for maintaining and implementing the ERP. |  |  |

System Demand

Demand based on Monthly Operational Records and system capacity based on Sanitary Survey.

| Average Daily Demand (gpd) |  |
| --- | --- |
| Maximum Daily Demand (gpd) |  |
| System Capacity (gpd) |  |
| Peak Hour Demand (gpm) |  |

## Location of Pertinent Information

| Item | Location |
| --- | --- |
| Distribution System Map |  |
| O&M Manual(s) |  |
| Start-Up / Shut-Down Procedures |  |

Well Information

GPS coordinates will help emergency crews find wells following a major catastrophe.

| Well Information | Well No. 1 | Well No. 2 | Well No. 3 | Well No. 4 |
| --- | --- | --- | --- | --- |
| GPS well tag # |  |  |  |  |
| Location (street) |  |  |  |  |
| GPS Coordinates | Lat: Long: | Lat: Long: | Lat: Long: | Lat: Long: |
| Well Depth (ft) |  |  |  |  |
| Well Yield (gpd) |  |  |  |  |
| Pump Type |  |  |  |  |
| Manufacturer |  |  |  |  |
| Capacity (gpm) |  |  |  |  |
| Motor Manufacturer |  |  |  |  |
| Horsepower |  |  |  |  |
| Phase |  |  |  |  |
| Volts/Amps |  |  |  |  |

Surface Water Sources

GPS coordinates will help emergency crews find surface water intakes following a major catastrophe.

| Surface Water Information | Intake No. 1 | Intake No. 2 |
| --- | --- | --- |
| Location (Street / Description) |  |  |
| GPS Coordinates | Lat: Long: | Lat: Long: |
| Critical Water Level |  |  |

Finished Water Storage

GPS coordinates will help emergency crews find tanks following a major catastrophe.

| Name of Storage Unit | Tank No. 1 | Tank No. 2 | Tank No. 3 | Tank No. 4 |
| --- | --- | --- | --- | --- |
| Location (Street) |  |  |  |  |
| Location (GPS) | Lat: Long: | Lat: Long: | Lat: Long: | Lat: Long: |
| Type (ground, elevated, etc.) |  |  |  |  |
| Capacity (gal) |  |  |  |  |
| Empty Elevation |  |  |  |  |
| Overflow Elevation |  |  |  |  |

High Service Pumps

| HSP | HSP No. 1 | HSP No. 2 | HSP No. 3 | HSP No. 4 |
| --- | --- | --- | --- | --- |
| Location (street) |  |  |  |  |
| Pump Type |  |  |  |  |
| Manufacturer |  |  |  |  |
| Capacity (gpm) |  |  |  |  |
| Motor Manufacturer |  |  |  |  |
| Horsepower |  |  |  |  |
| Phase |  |  |  |  |
| Volts/Amps |  |  |  |  |

Appendix B

Training and Rehearsals

This information is useful and recommended for inclusion in your ERP, it is not required by DEP in Chapter 62-555.350(15).

| Event | Description | People & Organizations Involved | Date |
| --- | --- | --- | --- |

Appendix C

Plan Approval

This information is useful and recommended for inclusion in your ERP, it is not required by DEP in Chapter 62-555.350(15).

Plan Approval

This plan is officially in effect when reviewed, approved, and signed by the following people:

| Name / Title | Signature | Date |
| --- | --- | --- |