Minimum Reporting Requirements for the

Safe Drinking Water Information System

(SDWIS/Fed)

Technical Guidance

United State Environmental Protection Agency

Office of Ground Water and Drinking Water

Revised September 22, 2014

Reviewed by SAIC in October 2014

SAIC Review Uses Track Changes and Focuses on Revised Total Coliform Rule (RTCR)

Table of Contents

I.	Purpose	3

II.	Minimum Reporting	4

III.	Reporting Requirements	5

Reporting Requirement Details

1.  BASIC WATER SYSTEM INFORMATION	7

2. RULE BASED WATER SYSTEM INFORMATION	9

3.  ONE AND ONLY ONE ADMINISTRATIVE CONTACT	12

4.  PRIMARY SERVICE AREA	15

5. ONE AND ONLY ONE GEOGRAPHIC AREA SERVED BY THE WATER SYSTEM	16

6.  ALL ACTIVE SOURCE FACILITIES	17

7.  LATITUDE/LONGITUDE FOR EACH ACTIVE, NON-TRANSIENT OR COMMUNITY SOURCE FACILITY	19

8.  ALL ACTIVE TREATMENT FACILITIES	27

9.  A PHYSICAL ADDRESS or LATITUDE/ LONGITUDE FOR EACH ACTIVE TREATMENT FACILITY	28

10.  EACH TREATMENT ASSOCIATED WITH A TREATMENT FACILITY	31

11.  FLOW RELATIONSHIP BETWEEN SOURCES AND TREATMENT FACILITIES	34

12.  OPTIONALLY, REPORT OTHER WATER SYSTEM FACILITIES	35

13.  LEAD & COPPER SAMPLES’ 90th PERCENTILES	36

14.  LEAD & COPPER MILESTONES	39

15.  ACTIVITIES TO ADDRESS DEFICIENCIES AND SANITARY DEFECTS.	41

16.  REPORT ACTIVITIES TO ADDRESS FECAL CONTAMINATION.	42

17.  REPORT TREATMENT TECHNIQUE TRIGGERS  FOR REVISED TOTAL COLIFORM RULE	43

18.  REPORT ALL SANITARY SURVEYS AND ASSESSMENTSCONDUCTED	45

19.  REPORT ALL RULE VIOLATIONS	50

20.  REPORT ALL ENFORCEMENT ACTIONS TAKEN	54

# Purpose

The purpose of this document is to explain which data are required to be reported from primacy agencies to EPA’s national data system, SDWIS/FED.  It explains: 1) the types of data which are required to register a water system and related compliance data in EPA’s national database, 2) the cardinality and permitted value options of the individual data elements, and 3) how those data are to be formatted for reporting.  While violation reporting details are provided, information concerning rule compliance determination is not included in this document.  That information can be found in the Implementation Guidance for each rule published by EPA.

The 2006 SDWIS Modernization Project defined XML schemas for reporting data to EPA.  These schemas are described in the SDWIS/FedRep 3.0 Design Document.  While it is the basis for the information contained in this document, the information is presented differently to facilitate data entry instructions as opposed to a systematic view of the logic.  In SDWIS/FedRep (EPA’s data validation tool), data are logically grouped into three Subject Areas; Inventory, Actions, and Samples.  Within each of the Subject Areas, data are further grouped into 18 separate Business Objects.  This document will describe how each EPA reporting requirement can be addressed by formatting the data into the appropriate SDWIS/FedRep Business Object(s).

The pages which follow address each of the EPA Reporting Requirements and the individual data elements contained within the Business Object(s) which is(are) used to report the data to meet that specific Reporting Requirement.  The minimum data set can be defined as the objects within a subject area and the elements within an object required for a submission to be complete.  Prior releases of the Consolidated Reporting Summary referred to data elements as “registration requirements”, part of the “Core Data Set”, or “Grant eligibility requirements”.  These designations are no longer used in the data entry process.  Instead, data elements within each object are categorized as either “required”, “conditional”, or “optional”.   The elements that are defined as “required” must be submitted with each object and are either operationally required by SDWIS/FED to process the data on a public water system (PWS) or are programmatically required by EPA to define each PWS.  Those elements defined as “conditional” (conditionally required) must be submitted to EPA based on defined business rules.  “Optional” elements are those which are not required but whose reporting is desired by EPA.

A total of 132 different data elements are reportable to EPA through SDWIS/FedRep.  Of those 132 elements, 72 are “required” (50 of which are unique, 22 are repeated as relational keys), 41 are “conditional”, and another 41 are “optional”.  While not all data elements in SDWIS/Fed are themselves mandatory reporting requirements, they may be mandatory for the Business Object when reporting optional data.  For further details on each field refer to the SDWIS/FedRep 3.4 Requirements Document.

# Minimum Reporting

The minimum requirements for reporting a water system to EPA can be summarized as follows:

- Basic water system information

- One and only one administrative contact

- One and only one primary service area

- One geographic area served by the water system

- All active Source Facilities

- Latitude/Longitude for each active, non-transient or community Source Facility

- All active Treatment Facilities

- A physical address or the Latitude/Longitude for each active Treatment Facility

- Each treatment associated with a Treatment Facility

- Flow relationship between Sources and Treatment Facilities

- All lead 90th Percentile results for PWS serving more than 3,300 people

- Lead 90th Percentile results that exceed the action level

- Copper 90th Percentile Results that exceed the action level

- Lead & Copper Milestones of Type DEEM, DONE, and LSLR

- Corrective Actions Not Taken

- Dates of Sanitary Surveys conducted

- Rule violations

- Enforcement Actions taken against water systems and their associations to violations

Optionally, you may report additional data over and above the minimum EPA requirements.  For example, you may choose to report information concerning other water system facility types, other types of water system contacts, non-primary service areas, or site visits other than sanitary surveys.  In these cases, use the same Business Objects as the required reporting, except for Other Water System Facilities (see below).

# Reporting Requirements

The table below lists each EPA Reporting Requirement, which Business Object(s) are used to submit those data, and the Subject Area (XLM document) in which data should be contained.

| EPA Reporting Requirement | SDWIS/FedRep Subject Area | SDWIS/FedRep Business Object(s) |
| --- | --- | --- |
| 1- Basic water system information | Inventory | Water System |
| 2 Additional PWS Reporting for Source Water Protection, GWR, DBP2, Long Term 2 and RTCR | Inventory | Water System |
| 3-One and only one administrative contact | Inventory | Legal Entity and Legal Entity Affiliation |
| 4- One and only one primary service area | Inventory | Service Area |
| 5- One city, county or tribal geographic area served by the water system | Inventory | Geographic Area |
| 6- All active Source Facilities | Inventory | Water System Facility Source |
| 7- Latitude/Longitude for each active, non-transient or community water system’s Source-type Facilities | Inventory | Locational Detail |
| 8- All active Treatment Facilities | Inventory | Water System Facility Treatment Plant |
| 9- A physical address or the Latitude/Longitude for each active, non-transient or community water system’s Treatment Facility | Inventory | Legal Entity and Legal Entity Affiliation |
|  |  | or Locational Detail |
| 10- Each type of treatment associated with a Treatment Facility | Inventory | Treatment Data |
| 11- Flow relationship between Sources and Treatment Facilities | Inventory | Facility Flow |
| OPTIONALLY 12- Report Other Facility Types | Inventory | Water System Facility Other |
| 13- Lead & Copper 90th Percentile Sample and Results information | Samples | Sample and Sample Result |
| 14– Lead & Copper Rule Milestone | Actions | Event Schedule Activity |
| 15– Corrective Actions to address deficiencies | Actions | Event Schedule Activity |
| 16– Corrective Actions to address fecal contamination | Actions | Event Schedule Activity |
| *17. Treatment Technique Triggers (New) | Actions | Event Schedule Activity |
| 18- Sanitary Surveys/Assessments conducted | Actions | Site Visit |
| 19- Rule violations | Actions | Violation |
| 20- Enforcement Actions taken against water systems and association to violations | Actions | Enforcement Actions and Assignment Criteria |

1.  BASIC WATER SYSTEM INFORMATION

Every active public water system for which the Primacy Agency has enforcement responsibility must be reported with each submission.  Once reported, a water system may not be deleted from the database.  If, since the last data submission date, the water system becomes inactive or no longer meets the classification requirements of a public water system, it must be included in the next data submission as “inactive” and must include the deactivation date.  In those cases the Water System Object is the only Inventory object that should be reported.  Even though no other inventory data is required, Action and Samples subject area data should continue to be reported for both active and inactive water systems. Use the SDWIS/FedRep Object WATER SYSTEM to report this information.

| SDWIS/FedRep Business Object: WATER SYSTEM |  |  |  |  |
| --- | --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |  |
| SDWIS/FedRep Element Name | SDWIS/FedRep XML Schema Tags | Comments | Permitted Values |  |
| PWS ID | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <PWSIdentifier> | Uniquely identifies a Public Water System. PWS ID is always prefixed with a valid United States Postal Service (USPS) State abbreviation or EPA Region code (excluding Region 03), which is then followed by a 7-character identifier unique for each PWS within that State or Region. | AN(9) |  |
| PWS TYPE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <SDWAPWSTypeCode> | A code value which classifies the type of public water system according to federal and state requirements. | A(4) C – Community NC – Transient, Non- Community NTNC – Non-Transient, Non-Community |  |
| PWS NAME | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <PWSNameText> | The name can be the formal, legal, or common name that is used most generally in referring to the water system. When multiple facilities exist for the water system at different physical locations, the name identifies the means by which the system, as a whole, is generally known. | AN(80) |  |
| ACTIVITY FLAG | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <PWSActivityCode> <SDWAPWSActivityCode> | A code value that categorizes the activity of the water system and the water system facility. | A(1) A - Active I - Inactive |  |
| RETAIL POPULATION SERVED | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <RetailPopulationServedValue> | Total daily retail population served not to exceed 9 million. | N(8/0) |  |
| RETAIL SERVICE CONNECTIONS | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <RetailServiceConnectionsValue> | A value that indicates the number of service connections for a water system for a particular type of service connection. | N(7/0) |  |
| OWNER TYPE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <OwnerTypeCode> <SDWAOwnerTypeCode> | A code value that identifies the type of owner for a public water system. | A(1) - F - Federal Govt - L - Local - M - Mixed - N - Native American - P – Private S - State Government |  |
| CONDITIONAL DATA |  |  |  |  |
| SDWIS/FedRep Element Name | SDWIS/FedRep XML Schema Tags | Conditions |  | Permitted Values |
| DEACTIVATION DATE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <PWSDeactivationDate> | May not be future date. Must be valued if Activity Flag set to I-Inactive. May not be valued if Activity Flag set to A-Active. |  | Date(YYYYMMDD) |
| NON-COMMUNITY SEASON BEGIN (MONTH AND DAY) | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <NonCommunitySeason> <NonCommunitySeasonBegin MonthDay> | Must be valued for all non-community systems. May be valued for community systems. |  | Date (MMDD) |
| NON-COMMUNITY SEASON END (MONTH AND DAY) | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <NonCommunitySeason> <NonCommunitySeasonEnd MonthDay> | Must be valued for all non-community systems. May be valued for community systems. |  | Date (MMDD) |
| WHOLESALEROFWATER | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <WaterSystemWholesalerCode> <SDWAWaterSystemWholesaleCode> | Indicates whether the water system is a wholesaler of water. |  | A(1) N – No Y - Yes |

2. RULE BASED WATER SYSTEM INFORMATION

Information regarding the implementation of some federal rules for each active public water system for which the Primacy Agency has enforcement responsibility must be reported with each submission.  Multiple sets of Additional PWS Reporting data may be reported for each water system; however, only one record may be reported of each Additional PWS Reporting name.  This information is required to be reported for each water system which is affected by the rule as outlined below.  Use the SDWIS/FedRep Object WATER SYSTEM Additional PWS Reporting data elements to report this information.

| Rule | Additional PWS Reporting Name |
| --- | --- |
| Ground Water Rule (GWR) | State Source Water Program |
|  | Outstanding Performer |
| Long Term 2 Enhanced Surface Water Treatment Rule (LT2 SWTR) | State Source Water Program |
|  | Long Term 2 ESWTR Schedule Category |
|  | Outstanding Performer |
| Stage 2 Disinfectant/Disinfection By-Products Rule (Stage 2 DBP) | Combined Distribution System Identifier |
|  | Stage 2 DBPR Schedule Category |
| *Revised Total Coliform Rule (RTCR) | *Reduced RTCR Monitoring |
|  | *Seasonal Startup System |

| SDWIS/FedRep Business Object: WATER SYSTEM-Additional PWS Reporting |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| SDWIS/FedRep Element Name | SDWIS/FedRep XML Schema Tags | Comments | Permitted Values |
| ADDITIONAL PWS REPORTING NAME | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <AdditionalPWSReportingDetails> <AdditionalPWSReportingElement Name> <AdditionalPWSReportingElement TextValue> | A code value that indicates the type of Additional PWS Reporting data submitted | AN(40) Combined Distribution System Identifier Long Term 2 ESWTR Schedule Category Outstanding Performer *Reduced RTCR Monitoring *Seasonal Startup System Stage 2 DBPR Schedule Category State Source Water Program |
| ADDITIONAL PWS REPORTING TEXT VALUE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <AdditionalPWSReportingDetails> <AdditionalPWSReportingTextValue> | Text value for this Additional PWS Reporting | AN (40) Reporting Name; Reporting Text PVs. Combined Distribution System Identifier; No permitted values. Long Term 2 ESWTR Schedule Category; 1,2,3,4,5. Outstanding Performer; Yes, No. *Reduced RTCR Monitoring; *Every 2 Months, Quarterly, Semi-annual, Annual. *Seasonal Startup System; *‘Not Pressurized All Year’ or ‘All Pressurized Including Offseason’. *State Source Water Program; *Yes, No. Stage 2 DBPR Schedule Category; 1,2,3,4. |
| ADDITIONAL PWS REPORTING BEGIN DATE VALUE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <AdditionalPWSReportingDetails> <AdditionalPWSReportingElement Name> <AdditionalPWSReportingElement BeginDate> | The calendar date representing when the water system began to satisfy the additional PWS reporting criteria according to state policy | Date(YYYYMMDD) *Required for Outstanding Performer, State Source Water Program, and Reduced RTCR Monitoring |
| ADDITIONAL PWS REPORTING END DATE VALUE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <AdditionalPWSReportingDetails> <AdditionalPWSReportingElement EndDate> | The calendar date representing when the water system no longer satisfied the Additional PWS Reporting criteria according to state policy | *Date(YYYYMMDD) Optional for Reduced RTCR Monitoring |
| ADDITIONAL PWS REPORTING NUMERIC VALUE | <InventoryDataFlow> <WaterSystems> <WaterSystemDetails> <AdditionalPWSReportingDetails> <AdditionalPWSReporting NumericValue> |  | N(18/9) Currently not used |

3.  ONE AND ONLY ONE ADMINISTRATIVE CONTACT

Every active public water system must have one and only one Administrative Contact which should be a person.  No other contact types should be reported.  Reporting this contact requires the submission of records for two SDWIS/FedRep Objects; LEGAL ENTITY and LEGAL ENTITY AFFILIATION.

* Note:  For Treatment Plant facilities, if no latitude/longitude data is submitted, a Legal Entity type of Treatment Plant must be reported to include a physical address for that water system facility. See requirement #8 of this document for details of reporting.

| SDWIS/FedRep Business Object: LEGAL ENTITY |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ADDRESS ID | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <LegalEntityAddressIdentifier> | An alpha-numeric value used to uniquely identify a specific addressee of an Administrative Contact or a Treatment Plant Facility. | AN(20) |
| CITY | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <MailingAddressCityName> | The city in which the legal entity being reported is located. | AN(40) |
| COUNTRY CODE | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <CountryCode> <SDWACountryCode> | A two character alphabetic code that represents the country in which the legal entity being reported is located. | A(2) Typically: US – United States CA - Canada |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| ORGANIZATION | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <OrganizationNameText> | The legal, formal name of the organization which is being reported as responsible for the water system listed in the Legal Entity Affiliation business object. Required if Addressee Name is not reported | AN(80) |
| ADDRESSEE NAME | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddresseeNameText> | The individual name of a person who is being reported as the Administrative Contact for the water system listed n the Legal Entity Affiliation business object. Required if Organization is not reported | AN(70) |
| ADDRESS LINE 1 | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <MailingAddressText> | The first line of an address applicable to the Legal Entity being reported. Required if Address Line 2 is not reported | AN(50) |
| ADDRESS LINE 2 | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <SupplementalAddressText> | The second line of an address applicable to the legal entity being reported. Required if Address Line 1 is not reported | AN(50) |
| US STATE AND CANADIAN PROVINCE CODE | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <SDWAUSStateCanadianProvince Code> | A coded value that represents the U.S. Postal Service (USPS) State abbreviation or the Canadian Province State abbreviation in which the legal entity being reported is located. Required if Country Code = “US” or “CA” | A(2) |
| POSTAL CODE | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <MailingAddressZipCode> | Either the U.S. Postal Service (USPS) ZIP Code or the international postal code in which a legal entity being reported is located. Required if Country Code = “US” or “CA” | AN(2) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| TELEPHONE NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <TelephoneNumber> | The telephone number of the legal entity being reported. | AN(15) |
| TELEPHONE EXTENSION NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <TelephoneNumberExtension> | The number assigned within an organization to extend the external telephone-number of the legal entity being reported. | AN(5) |
| FAX NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <FaxNumber> | The fax number of the legal entity being reported. | AN(15) |
| ALTERNATE TELEPHONE NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <AlternatePhoneNumber> | The alternate telephone number of a water system or the system’s primary contact | AN(15) |
| ELECTRONIC ADDRESS | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <EmailAddressText> | The e-mail address for the legal entity being reported. | AN(100) |

| SDWIS/FedRep Business Object: LEGAL ENTITY AFFILIATION |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ADDRESS ID | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <LegalEntityAddressIdentifier> | An alpha-numeric value used to uniquely identify a specific addressee of an Administrative Contact. | AN(20) |
| PWS ID | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <PWSIdentifier> | Uniquely identifies the Public Water System for which the association is being made. | AN(9) |
| AFFILIATION TYPE | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <AffiliationCode> <SDWAAffiliationCode> | A coded value which categorizes the reason for associating a legal entity with a public water system. Note: only one administrative contact should be identified for each public water system. | A(2) AC Administrative Contact - Identifies a legal entity as a contact of interest to the water system for potential notification of activities related to a specific water system. An example is identifying an individual that may receive copies of correspondence. |

4.  PRIMARY SERVICE AREA

A Service Area describes the primary categorization of the area serviced by the PWS.  Optionally, other Service Areas may be reported.  Only one Service Area may be designated as “Primary” for each water system.  Use the SDWIS/FedRep Object SERVICE AREA to report this information.

| SDWIS/FedRep Business Object: SERVICE AREA |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <ServiceAreas> <ServiceAreaDetails> <PWSIdentifier> | Uniquely identifies a Public Water System. | AN(9) |
| PRIMARY SERVICE AREA CODE | <InventoryDataFlow> <ServiceAreas> <ServiceAreaDetails> <PrimaryServiceAreaCode> <SDWAServiceAreaCode> | A coded value that describes a the primary categorization of the area serviced by the Public Water System. | A(2) - DC Day Care Center - DI Dispenser - HA Homeowners Association - HM Hotel/Motel - HR Highway Rest Area - IA Industrial/Agricultural - IC Interstate Carrier - IN Institution - MF Medical Facility - MH Mobile Home Park - MP Mobile Home Park, - Principle Residence - MU Municipality - OA Other Area - ON Other Non-Transient Area - OR Other Residential Area - OT Other Transient Area - PA Recreation Area - RA Residential Area - RE Retail Employees - RS Restaurant - SC School - SI Sanitary Improvement District - SK Summer Camp - SR Secondary Residences - SS Service Station - SU Subdivision WB Water Bottler WH Wholesale |
| OPTIONAL DATA |  |  |  |
| SERVICE AREA CODE | <InventoryDataFlow> <ServiceAreas> <ServiceAreaDetails> <PrimaryServiceAreaCode> <SDWAServiceAreaCode> | Note: Other Service Areas may be reported in addition to the primary. | A(2) (Same Values as Primary) |

5. ONE AND ONLY ONE GEOGRAPHIC AREA SERVED BY THE WATER SYSTEM

Every active public water system must have one and only one geographic area served by the water system.  You must report either the 1) City and State, 2) County FIPS Code, or 3) Tribal Code.  Use the SDWIS/FedRep Object GEOGRAPHIC AREA to report this information.

| SDWIS/FedRep Business Object: GEOGRAPHIC AREA |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <GeographicAreas> <GeographicAreaDetails> <PWSIdentifier> | Uniquely identifies a Public Water System. | AN(9) |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| US STATE CODE | <InventoryDataFlow> <GeographicAreas> <GeographicAreaDetails> <GeographicAreaServedDetails> <ServedStateCityDetails> <ServedStateCode> <SDWAServedStateCode> | Populate if CITY NAME is reported | A(2) 2-digit U.S. Postal Service State abbreviation in which the city served by the Water System is located. |
| CITY NAME | <InventoryDataFlow> <GeographicAreas> <GeographicAreaDetails> <GeographicAreaServedDetails> <ServedStateCityDetails> <ServedCityText> | If COUNTY CODE or TRIBAL CODE is NOT reported | AN(40) The name of the city served by the Water System. |
| FIPS COUNTY CODE | <InventoryDataFlow> <GeographicAreas> <GeographicAreaDetails> <GeographicAreaServedDetails> <ServedFIPSCountyCode> | If CITY NAME or TRIBAL CODE is NOT reported | AN(5) The FIPS code representing the state and county served by the Water System. |
| TRIBAL CODE | <InventoryDataFlow> <GeographicAreas> <GeographicAreaDetails> <GeographicAreaServedDetails> <ServedTribalCode> <SDWATribalCode> | Populate if PWS is Tribal water system | AN(3) The 3-digit EPA code which represents the Indian reservation or Alaska Remote Village being served by a Water System. |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| SERVED AREA ZIP CODE | <InventoryDataFlow> <GeographicAreas> <GeographicAreaDetails> <GeographicAreaServedDetails> <ServedAreaZipCode> | The primary postal zip code of the population served by the water system. | N(5/0) |

6.  ALL ACTIVE SOURCE FACILITIES

Every active public water system must have at least one facility which is recognized as a source of water.  Use the SDWIS/FedRep Object WATER SYSTEM FACILITY SOURCE to report this information.

| SDWIS/FedRep Business Object: WATER SYSTEM FACILITY SOURCE |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| FACILITY ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <PWSFacilityIdentifier> | A state-assigned value which identifies the Water System Facility | AN(12) |
| ACTIVITY FLAG | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <FacilityActivityCode> <SDWAFacilityActivityCode> |  | A(1) A - Active I - Inactive |
| FACILITY NAME | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <FacilityNameText> | All alphabetic characters will be in mixed case. | AN(80) |
| FACILITY TYPE CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilityTypeCode> <SDWASourceFacilityTypeCode> |  | A(2) CC Consecutive Connection IG Infiltration Gallery IN Intake NN Non-piped, non-purchsd NP Non-piped RC Roof Catchment RS Reservoir SP Spring WL Well (Source) |
| FACILITY WATER TYPE CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilityWaterTypeCode> <SDWASourceFacilityWaterTypeCode> | The water type permitted is restricted depending upon the Water System Facility Type CC=GU, GW, or SW IG=GU or SW IN=SW NP=GU, GW, or SW RC=GW RS=SW SP=GU, GW, or SW WL=GU or GW NN=GU, GW, or SW | A(2) GU - Ground water under direct influence of surface water GW – Ground Water SW – Surface Water |
| AVAILABILITY | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilityAvailabilityCode> <SDWASourceFacilityAvailability Code> |  | A(1) E - Emergency Utilization I – Interim Utilization O - Other Utilization P - Permanent Utilization S - Seasonal Utilization |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| DEACTIVATION DATE FACILITY | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <FacilityDeactivationDate> | Required if ACTIVITY FLAG = “I” (Inactive Facility) | DATE(YYYYMMDD) |
| SELLER PWS ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilitySellerPWSIdentifier> | Required if source is purchased (Facility Type Code = CC or NP) | AN(9) |
| SELLER SOURCE TREATMENT CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilitySellerTreatmentCode> <SDWASourceFacilitySeller TreatmentCode> | Required if source is purchased (Facility Type Code = CC or NP) | A(1) F – Treated by seller including SWT G – Treated by seller with 4-log virus for GWR N – No, not treated Y – Partially treated by seller |
| SOURCE TREATED CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilityTreatedCode> <SDWASourceFacility TreatedCode> | Required if Water System Facility Type = CC, IG, IN, NP, RC, RS, SP, WL, or NN | A(1) N – Not treated Y – Treated |
| REPORTED FILTRATION STATUS CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <SourceFacilityReportedFiltration StatusCode> <SDWASourceFacilityReported FiltrationStatusCode> | Required if Facility Water Type Code = GU or SW | A(3) *FIL – Filtered MIF – Must Install Filtration (SW or GU only) SAF – Successfully Avoiding Filtration (SW or GU only) |
| OPTIONAL DATA |  |  |  |
| STATE DATABASE FACILITY ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <SourceFacility> <FacilityStateDatabaseIdentifier> | The ID that a state uses to identify a facility in their own state system database. | AN(40) |

7.  LATITUDE/LONGITUDE FOR EACH ACTIVE, NON-TRANSIENT OR COMMUNITY SOURCE FACILITY

Each active source facility serving a public water system must have latitude and longitude coordinates according to EPA’s Locational Policy.  Optionally, latitude and longitude may be reported for non-source facilities.  Use the SDWIS/FedRep Object LOCATIONAL DETAIL to report this information.

*Note:  Locational data requirements for Transient Non-Community water systems is unresolved as of the printing of this document.  Application of the policy relating to TNC locational data will be reviewed by the Data Sharing Committee.

| SDWIS/FedRep Business Object: LOCATIONAL DETAIL |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <Locations> <LocationDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| FACILITY ID | <InventoryDataFlow> <Locations> <LocationDetails> <PWSFacilityIdentifier> | The state-assigned value which identifies the Water System Facility for which the reported locational data applies. | AN(12) |
| HORIZONTAL COLLECTION METHOD CODE | <InventoryDataFlow> <Locations> <LocationDetails> <HorizontalCollectionMethodCode> <SDWAHorizontalCollectionMethod Code> | Method used to determine the latitude/longitude, represents the primary source of the data | AN(3) 001 Address Matching – House Number 002 Address Matching - Block Face 003 Address Matching – Street Centerline 004 Address Matching - Nearest Intersection 005 Address Matching – Primary Name 006 Address Matching - Digitized 007 Address Matching - Other 008 Census Block - 1990 - Centroid 009 Census Block/Group - 1990 - Centroid 010 Census Block Track - 1990 - Centroid 011 Census - Other 012 Global Positioning System (GPS) Carrier Phase Static Relative Positioning 013 GPS Carrier Phase Kinematic Relative Positioning Technique 014 GPS Code Measurements (Pseudo Range) Differentially Corrected 015 GPS Code Measurements (Pseudo Range) Precise Positioning Service 016 GPS Code Measurements (Pseudo Range) Standard Positioning Service SA Off 017 GPS Code Measurements (Pseudo Range) Standard Positioning Service SA On 018 Interpolation - Map 019 Interpolation - Photo 020 Interpolation - Satellite 021 Interpolation - Other 022 Loran C 023 Public Land Survey - Quarter Section 024 Public Land Survey - Section 025 Classical Surveying Techniques 026 ZIP Code – Centroid 027 Unknown 028 GPS - Unspecified 029 GPS Code Measurements (Pseudo Range) Standard Positioning Service Corrected 030 Interpolation – Digital Map Source (Tiger) 031 Interpolation - Spot 032 Interpolation - MSS (Multi-Spectral Scanner) 033 Interpolation - TM (Thematic Mapper) 034 Public Land Survey – Eighth Section 035 Public Land Survey – Sixteenth Section 036 Public Land Survey - Footing 037 ZIP+4 Code - Centroid 038 ZIP+2 Code - Centroid |
| HORIZONTAL ACCURACY MEASURE | <InventoryDataFlow> <Locations> <LocationDetails> <HorizontalAccuracyMeasure> | Describes the correctness of the latitude/longitude measurement, in meters. | N(7/2) |
| REFERENCE POINT CODE | <InventoryDataFlow> <Locations> <LocationDetails> <ReferencePointAlternateCode> <SDWAReferencePointAlternateCode> | Category of the feature referenced by the latitude and longitude. | AN(3) 002 Plant Entrance (General) 003 Other 004 Plant Entrance (Personnel) 005 Plant Entrance (Freight) 006 Air Release Stack 007 Air Release Vent 008 Storage Tank 009 Pipe Release To Water 010 Lagoon or Settling Pont 011 Liquid Waste Treatment Unit 012 Atmospheric Emissions Treatment Unit 013 Solid Waste Treatment/ Disposal Unit 014 Solid Waste Storage Area 015 Loading Facility 016 Loading Area Centroid 017 Process Unit 018 Process Unit Area Centroid 019 Administrative Building 020 Facility Centroid 021 NE Corner of Land Parcel 022 SE Corner of Land Parcel 023 NW Corner of Land Parcel 024 SW Corner of Land Parcel 025 Center of Facility 026 Well 027 Well Protection Area 028 Water Monitoring Station 029 Air Monitoring Station 030 Intake Pipe 101 Entrance pt of facility/station 102 Center of a facility or station 103 Facility/monitoring site boundary point 104 Point where substance enters facility/monitoring site (can be inside or outside of a facility/site) 105 Point where substance is processed, treated, settled, or stored 106 Point where a substance is released 107 Point where a substance is monitored. 108 Points not represented by 101-107 |
| HORIZONTAL REFERENCE DATUM CODE | <InventoryDataFlow> <Locations> <LocationDetails> <HorizontalReferenceDatumCode> <SDWAHorizontalReferenceDatumCode> | Reference standard for three dimensional and horizontal positioning established by the U.S. National Geodetic Survey (NGS) and other bodies | AN(3) 001 - NAD 27 002 - NAD 83 003 - WGS 84 |
| SOURCE MAP SCALE | <InventoryDataFlow> <Locations> <LocationDetails> <SourceMapScaleCode> <SDWASourceMapScaleCode> | Scale of the map used to determine the latitude and longitude coordinates | AN(2) 1 >= 1:500 2 BETWEEN 1:500 AND 1:5,000 3 BETWEEN 1:5,000 AND 1:10,000 4 BETWEEN 1:10,000 AND 1:15,000 5 BETWEEN 1:15000 AND 1:20,000 6 BETWEEN 1:20,000 AND 1:25,000 7 BETWEEN 1:25,000 AND 1:50,000 8 BETWEEN 1:50,000 AND 1:100,000 9 <1:100,000 A 1:10,000 B 1:12,000 C 1:15,840 D 1:20,000 E 1:24,000 F 1:25,000 G 1:50,000 H 1:62,500 I 1:63,360 J 1:100,000 K 1:125,000 L 1:250,000 M 1:500,000 NA SCALE NOT APPLICABLE TO COLLECTION METHOD |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| LATITUDE DEG:MINS:SECS | <InventoryDataFlow> <Locations> <LocationDetails> <LatitudeLongitude> <LatitudeLongitudeDegMinSec> <LatitudeDegMinSec> | Required if LONGITUDE DEG:MINS:SECS is reported | Latitude format: SDDMMSS.SSSS S is the meridian sign (+ -) DD is the degrees MM is the minutes SS is the seconds SSSS is the microseconds |
| LONGITUDE DEG:MINS:SECS | <InventoryDataFlow> <Locations> <LocationDetails> <LatitudeLongitude> <LatitudeLongitudeDegMinSec> <LongitudeDegMinSec> | Required if LATITUDE DEG:MINS:SECS is reported | Longitude format: SDDDMMSS.SSSS S is the meridian sign (+ -) DDD is the degrees MM is the minutes SS is the seconds SSSS is the microseconds |
| LATITUDE MEASURE | <InventoryDataFlow> <Locations> <LocationDetails> <LatitudeLongitude> <LatitudeLongitudeMeasure> <LatitudeMeasure> | Required if LONGITUDE MEASURE is reported | Latitude format: SDD.DDDDDD S is the meridian sign (+ -) DD.DDDDDD is the latitude in decimal degrees format |
| LONGITUDE MEASURE | <InventoryDataFlow> <Locations> <LocationDetails> <LatitudeLongitude> <LatitudeLongitudeMeasure> <LongitudeMeasure> | Required if LATITUDE MEASURE is reported | Longitude format: SDDD.DDDDDD S is the meridian sign (+ -) DDD.DDDDDD is the longitude in decimal degrees format |
| VERTICAL MEASURE | <InventoryDataFlow> <Locations> <LocationDetails> <VerticalMeasureDetails> <VerticalMeasure> | Vertical distance from the vertical datum to the land surface or other measuring point, in meters. | N(7/2) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| GEOMETRIC TYPE CODE (Required element for any release prior to 3.0) | <InventoryDataFlow> <Locations> <LocationDetails> <GeometricTypeCode> <SDWAGeometricTypeCode> | Value indicating whether the latitude and longitude coordinates represent a point, multiple points on a line, or an area. | AN(3) 001 – Point (Default) 002 – Line 003 – Area 004 – Region 005 – Route |
| DATA COLLECTION DATE | <InventoryDataFlow> <Locations> <LocationDetails> <DataCollectionDate> | Date when the latitude and longitude coordinates were determined. | DATE(YYYYMMDD) |
| COORDINATE DATA SOURCE CODE | <InventoryDataFlow> <Locations> <LocationDetails> <CoordinateDataSourceCode> <SDWACoordinateDataSourceCode> | Party responsible for collecting or otherwise providing the latitude and longitude. | AN(3) 001 ALABAMA 002 ALASKA 004 ARIZONA 005 ARKANSAS 006 CALIFORNIA 008 COLORADO 009 CONNECTICUT 010 DELAWARE 011 DISTRICT OF COLUMBIA 012 FLORIDA 013 GEORGIA 015 HAWAII 016 IDAHO 017 ILLINOIS 018 INDIANA 019 IOWA 020 KANSAS 021 KENTUCKY 022 LOUISIANA 023 MAINE 024 MARYLAND 025 MASSACHUSETTS 026 MICHIGAN 027 MINNESOTA 028 MISSISSIPPI 029 MISSOURI 030 MONTANA 031 NEBRASKA 032 NEVADA 033 NEW HAMPSHIRE 034 NEW JERSEY 035 NEW MEXICO 036 NEW YORK 037 NORTH CAROLINA 038 NORTH DAKOTA 039 OHIO 040 OKLAHOMA 041 OREGON 042 PENNSYLVANIA 044 RHODE ISLAND 045 SOUTH CAROLINA 046 SOUTH DAKOTA 047 TENNESSEE 048 TEXAS 049 UTAH 050 VERMONT 051 VIRGINIA 053 WASHINGTON 054 WEST VIRGINIA 055 WISCONSIN 056 WYOMING 060 AMERICAN SAMOA 064 FEDERATED STATES OF MICRONESIA 066 GUAM 068 MARSHALL ISLANDS 069 NORTHERN MARIANA ISLANDS 070 PALAU 072 PUERTO RICO 074 U.S. MINOR OUTLYING ISLANDS 078 VIRGIN ISLANDS OF THE UNITED STATES 080 CONTRACTOR 081 DUNN & BRADSTREET 082 EPA HEADQUARTERS 083 OTHER 084 OTHER FEDERAL AGENCY 085 PRIVATE 086 TRIBE 087 UNKNOWN 088 EPA REGION 1 089 EPA REGION 10 090 EPA REGION 2 091 EPA REGION 3 092 EPA REGION 4 093 EPA REGION 5 094 EPA REGION 6 095 EPA REGION 7 096 EPA REGION 8 097 EPA REGION 9 098 REGULATED ENTITY NN NAVAJO NATION |
| VERIFICATION METHOD CODE | <InventoryDataFlow> <Locations> <LocationDetails> <VerificationMethodCode> <SDWAVerificationMethodCode> | A code representing the process by which the latitude and longitude coordinates have been verified by EPA, grantees, or contractors. | AN(3) 001 Proximity to Polygon Centroid (County) 002 Proximity to Alternative Facility Coordinate 003 Proximity to Polygon Centroid (Other) 004 Point in Polygon (Other) 005 Point in Polygon (County) 006 Point in Polygon (ZIP) 007 Verified Relative to Map Features (1:24,000) 008 Verified Relative to Map Features (1:100,000 OR Tiger) 009 Verified Relative to Map Features (Other) 010 Verified, Unknown Method 011 Ground Truth Conducted 012 Proximity to Polygon Centroid (ZIP Code) 013 Point in Bounding Box (ZIP) 014 Point in Bounding Box (County) |
| VERTICAL COLLECTION METHOD CODE | <InventoryDataFlow> <Locations> <LocationDetails> <VerticalMeasureDetails> <VerticalCollectionMethodCode> <SDWAVerticalCollectionMethodCode> | Code representing the method used to determine the vertical measure. | AN(3) 001 GPS Carrier Phase Static Relative Positioning Technique 002 GPS Carrier Phase Kinematic Relative Positioning Technique 003 GPS Code Measurements (Pseudo Range) Differentially Corrected 004 GPS Code Measurements (Pseudo Range) Precise Positioning Service 005 GPS Code Measurements (Pseudo Range) Standard Positioning Service (SA Off) 006 GPS Code Measurements (Pseudo Range) Standard Positioning Service (SA On) 007 Classical Surveying Techniques 008 Other, Unspecified 009 Altimetry 010 Precise Leveling from a Benchmark 011 Leveling Between Non Benchmark Control Points 012 Trigonometric Leveling 013 Photogrammetric 014 Topographic Map Interpolation |
| VERTICAL ACCURACY MEASURE | <InventoryDataFlow> <Locations> <LocationDetails> <VerticalMeasureDetails> <VerticalAccuracyMeasure> | Quantitative measurement of the amount of deviation from true value in the vertical measure (estimate of error). It describes the correctness of the vertical measure, in meters. | N(7/2) |
| VERTICAL REFERENCE DATUM CODE | <InventoryDataFlow> <Locations> <LocationDetails> <VerticalMeasureDetails> <VerticalReferenceDatumCode> <SDWAVerticalReferenceDatumCode> | Code representing which national reference standard for vertical control established by the U.S. National Geodetic Survey (NGS) is used to determine the vertical measure. | AN(3) 001 – NAVD 88 002 – NGVD 29 003 – Elevation from mean sea-level 004 – Local Tidal Datus |
| LOCATION COMMENT TEXT | <InventoryDataFlow> <Locations> <LocationDetails> <LocationCommentsText> | Comments further describing the collection, processing, or interpretation of the latitude, longitude and/or vertical data. | AN(2000) |

8.  ALL ACTIVE TREATMENT FACILITIES

Any and all water treatment facilities must be reported.  Use the SDWIS/FedRep Object WATER SYSTEM FACILITY TREATMENT PLANT to report this information.

| SDWIS/FedRep Business Object: WATER SYSTEM FACILITY TREATMENT PLANT |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <PWSIdentifier> | Uniquely identifies a Public Water System. | AN(9) |
| FACILITY ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <PWSFacilityIdentifier> | Uniquely identifies the Public Water System for which the facility being reported applies. | AN(12) |
| ACTIVITY FLAG | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <FacilityActivityCode> <SDWAFacilityActivityCode> | A code value that categorizes the activity of the water system and the water system facility | A(1) A - Active I - Inactive |
| FACILITY NAME | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <TreatmentPlantFacility> <FacilityNameText> | All alphabetic characters will be in mixed case. | AN(80) |
| FACILITY TYPE CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <TreatmentPlantFacility> <TreatmentFacilityTypeCode> <SDWATreatmentFacilityType Code> | Note: Only type “TP” can be reported on this object. | AN(2) TP Treatment Plant |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| DEACTIVATION DATE FACILITY | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <FacilityDeactivationDate> | Required if ACTIVITY FLAG = “I” (Inactive Facility) | DATE(YYYYMMDD) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| STATE DATABASE FACILITY ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <TreatmentPlantFacility> <FacilityStateDatabaseIdentifier> | The ID that a state uses to identify a facility in their own state system database | AN(40) |

9.  A PHYSICAL ADDRESS or LATITUDE/ LONGITUDE FOR EACH ACTIVE TREATMENT FACILITY

All treatment facilities at active, non-transient or community water systems must have either a physical address OR its latitude and longitude coordinates.  To report a physical address, use the SDWIS/FedRep Objects LEGAL ENTITY and LEGAL ENTITY AFFILIATION (detailed below).  To report the latitude and longitude coordinates, use the same SDWIS/FedRep Object (LOCATIONAL DETAIL) used to report the locational data for sources.

| SDWIS/FedRep Business Object: LEGAL ENTITY |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ADDRESS ID | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <LegalEntityAddressIdentifier> | An alpha-numeric value used to uniquely identify a specific addressee of an Administrative Contact or a Treatment Plant Facility. | AN(20) |
| CITY | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <MailingAddressCityName> | The city in which the legal entity being reported is located. | AN(40) |
| COUNTRY CODE | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <CountryCode> <SDWACountryCode> | A two character alphabetic code that represents the country in which the legal entity being reported is located. | A(2) Typically: US – United States CA - Canada |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| ORGANIZATION | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <OrganizationNameText> | The legal, formal name of the organization which is being reported as responsible for the water system listed in the Legal Entity Affiliation business object. Required if Addressee Name is not reported | AN(80) |
| ADDRESSEE NAME | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddresseeNameText> | The individual name of a person who is being reported as the Administrative Contact for the water system listed n the Legal Entity Affiliation business object. Required if Organization is not reported | AN(70) |
| ADDRESS LINE 1 | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <MailingAddressText> | The first line of an address applicable to the Legal Entity being reported. Required if Address Line 2 is not reported | AN(50) |
| ADDRESS LINE 2 | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <SupplementalAddressText> | The second line of an address applicable to the legal entity being reported. Required if Address Line 1 is not reported | AN(50) |
| US STATE AND CANADIAN PROVINCE CODE | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <SDWAUSStateCanadianProvince Code> | A coded value that represents the U.S. Postal Service (USPS) State abbreviation or the Canadian Province State abbreviation in which the legal entity being reported is located. Required if Country Code = “US” or “CA” | A(2) |
| POSTAL CODE | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <AddressDetails> <MailingAddressZipCode> | Either the U.S. Postal Service (USPS) ZIP Code or the international postal code in which a legal entity being reported is located. Required if Country Code = “US” or “CA” | AN(2) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| TELEPHONE NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <TelephoneNumber> | The telephone number of the legal entity being reported. | AN(15) |
| TELEPHONE EXTENSION NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <TelephoneNumberExtension> | The number assigned within an organization to extend the external telephone-number of the legal entity being reported. | AN(5) |
| FAX NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <FaxNumber> | The fax number of the legal entity being reported. | AN(15) |
| ALTERNATE TELEPHONE NUMBER | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <AlternatePhoneNumber> | The alternate telephone number of a water system or the system’s primary contact | AN(15) |
| ELECTRONIC ADDRESS | <InventoryDataFlow> <LegalEntities> <LegalEntityDetails> <PhoneFaxEmail> <EmailAddressText> | The e-mail address for the legal entity being reported. | AN(100) |

| SDWIS/FedRep Business Object: LEGAL ENTITY AFFILIATION |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ADDRESS ID | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <LegalEntityAddressIdentifier> | An alpha-numeric value used to uniquely identify a specific legal entity. | AN(20) |
| PWS ID | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <PWSIdentifier> | Uniquely identifies the Public Water System for which the address being reported applies. | AN(9) |
| AFFILIATION TYPE | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <AffiliationCode> <SDWAAffiliationCode> | The coded value which categorizes that the associated a legal entity is a physical address for a treatment plant. | A(2) TP Water Treatment Plant Facility |
| FACILITY ID | <InventoryDataFlow> <LegalEntityAffiliations> <LegalEntityAffiliationDetails> <PWSFacilityIdentifier> | Uniquely identifies the Treatment Plant for which the address being reported applies. | AN(12) |

10.  EACH TREATMENT ASSOCIATED WITH A TREATMENT FACILITY

Each treatment plant facility reported must be linked to the treatment objectives and processes for treating water intended for safe public consumption.  Use the SDWIS/FedRep Object TREATMENT DATA to submit this data.

| SDWIS/FedRep Business Object: TREATMENT DATA |  |  |  |
| --- | --- | --- | --- |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| REQUIRED DATA |  |  |  |
| PWS ID | <InventoryDataFlow> <TreatmentData> <TreatmentDetails> <PWSIdentifier> | The PWS ID for which the reported treatment applies. | AN(9) |
| FACILITY ID | <InventoryDataFlow> <TreatmentData> <TreatmentDetails> <PWSFacilityIdentifier> | A state-assigned value which identifies the Water System Facility for which the reported treatment applies. | AN(12) |
| TREATMENT ID | <InventoryDataFlow> <TreatmentData> <TreatmentDetails> <TreatmentIdentifier> | A numeric value used to uniquely identify a specific treatment applied to a source of water for a public water system. | AN(20) |
| TREATMENT OBJECTIVE | <InventoryDataFlow> <TreatmentData> <TreatmentDetails> <TreatmentObjectiveCode> <SDWATreatmentObjectiveCode> | A coded value that categorizes the treatment objective to be attained through treatment of a source of water. Examples include objectives such as disinfection, particulate removal, corrosion control, softening, etc. | AN(1) B - DISINFECTION BY-PRODUCTS CONTROL C - CORROSION CONTROL D - DISINFECTION E - DECHLORINATION F - IRON REMOVAL I - INORGANICS REMOVAL M - MANGANESE REMOVAL O - ORGANICS REMOVAL P - PARTICULATE REMOVAL R - RADIONUCLIDES REMOVAL S - SOFTENING (HARDNESS REMOVAL) T - TASTE / ODOR CONTROL Z - OTHER |
| TREATMENT PROCESS | <InventoryDataFlow> <TreatmentData> <TreatmentDetails> <TreatmentProcessCode> <SDWATreatmentProcessCode> | A coded value that categorizes the treatment process to be applied to a source of water for a PWS. | 100 - ACTIVATED ALUMINA 121 - ACTIVATED CARBON, GRANULAR 125 - ACTIVATED CARBON, POWDERED 141 - AERATION, CASCADE 143 - AERATION, DIFFUSED 145 - AERATION, PACKED TOWER 147 - AERATION, SLAT TRAY 149 - AERATION, SPRAY 160 - ALGAE CONTROL 180 BONE CHAR 190 BROMINIZATION (SPECIAL USE) 200 - CHLORAMINES 220 - CHLORINE DIOXIDE 240 - COAGULATION 300 - DISTILLATION 320 - ELECTRODIALYSIS 341 - FILTRATION, CARTRIDGE 342 - FILTRATION, DIATOMACEOUS EARTH 343 - FILTRATION, GREENSAND 344 - FILTRATION, PRESSURE SAND 345 FILTRATION, RAPID SAND 346 FILTRATION, SLOW SAND 347 - FILTRATION, ULTRAFILTRATION 348 - FILTERED 360 - FLOCCULATION 361 - 4-Log Treatment of viruses 362 - 3-Log Remove/Inactiv G Lamblia 363 - 4-Log Remove/Inactiv Viruses 364 - 2-Log Remove Crypto 365 - 1-LOG TREATMENT OF CRYPTO 366 - 1.5-LOG TREATMENT OF CRYPTO 367 - 2-LOG TREATMENT OF CRYPTO 368 - 2.5-LOG TREATMENT OF CRYPTO 369 - 3-LOG TREATMENT OF CRYPTO 370 - 4-LOG REMOVE/INACTIVATE CRYPTO 371 - 5.0-LOG REMOVE/INACTIV CRYPTO 372 - 5.5-LOG REMOVE/INACTIV CRYPTO 380 - FLUORIDATION 401 - GASEOUS CHLORINATION, POST 403 - GASEOUS CHLORINATION, PRE 421 - HYPOCHLORINATION, POST 423 - HYPOCHLORINATION, PRE 441 INHIBITOR, BIMETALLIC PHOSPHATE 443 - INHIBITOR, HEXAMETAPHOSPHATE 445 - INHIBITOR, ORTHOPHOSPHATE 447 - INHIBITOR, POLYPHOSPHATE 449 - INHIBITOR, SILICATE 455 - IODINE 460 - ION EXCHANGE 461 - CHLORINATION (FRDS-1.5) 473 - CONVERTED (FRDS-1.5) 500 - LIME - SODA ASH ADDITION 520 - MICROSCREENING 541 - OZONATION, POST 543 - OZONATION, PRE 560 - PERMANGANATE 580 - PEROXIDE 600 - RAPID MIX 620 - REDUCING AGENTS 623 - REDUCING AGENT, SODIUM BISULFATE 625 - REDUCING AGENT, SODIUM SULFITE 627 - REDUCING AGENT, SULFUR DIOXIDE 640 - REVERSE OSMOSIS 660 - SEDIMENTATION 680 - SEQUESTRATION 700 - SLUDGE TREATMENT 720 - ULTRAVIOLET RADIATION 740 - PH ADJUSTMENT 741 - PH ADJUSTMENT, POST 742 - PH ADJUSTMENT, RE 999 - INNOVATIVE |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| TREATMENT COMMENT | <InventoryDataFlow> <TreatmentData> <TreatmentDetails> <TreatmentCommentText> | Required if the reported treatment is an innovative treatment (Treatment Process = "999") | AN(2000) |

11.  FLOW RELATIONSHIP BETWEEN SOURCES AND TREATMENT FACILITIES

The relationship or connection between source and treatment facilities with a water system must be reported.  Use the SDWIS/FedRep Object WATER SYSTEM FACILITY FLOW to submit this data.

| SDWIS/FedRep Business Object: WATER SYSTEM FACILITY FLOW |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <FacilityFlowData> <FacilityFlowDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| FACILITY ID FLOW FROM | <InventoryDataFlow> <FacilityFlowData> <FacilityFlowDetails> <FacilityFromToDetails> <FacilityFromIdentifier> | A state-assigned value which identifies the water system facility from which water flows. | AN(12) |
| FACILITY ID FLOW TO | <InventoryDataFlow> <FacilityFlowData> <FacilityFlowDetails> <FacilityFromToDetails> | A state-assigned value which identifies the water system facility to which the water flows. | AN(12) |

12.  OPTIONALLY, REPORT OTHER WATER SYSTEM FACILITIES

Water System Facilities of types other than sources or treatment plants may be reported.  Use the SDWIS/FedRep Object WATER SYSTEM FACILITY OTHER to submit this data.

| SDWIS/FedRep Business Object: WATER SYSTEM FACILITY OTHER |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| FACILITY ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <PWSFacilityIdentifier> | A state-assigned value which identifies the Water System Facility | AN(12) |
| ACTIVITY FLAG | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <FacilityActivityCode> <SDWAFacilityActivityCode> | A code value that categorizes the activity of the water system and the water system facility | A(1) A - Active I - Inactive |
| FACILITY NAME | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <OtherFacility> <FacilityNameText> | All alphabetic characters will be in mixed case. | AN(80) |
| FACILITY TYPE CODE | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <OtherFacility> <OtherFacilityTypeCode> <SDWAOtherFacilityTypeCode> | A coded value which categorizes the water facility. The code specifies the type of source, plant, or entry point facility (e.g., WL is a well which is a type of source) | AN(2) CH Common Headers CS Cistern CW Clear Well DS Distrib System/Zone OT Other PC Pressure Control PF Pump Facility RS Reservoir SI Surface Impoundment SS Sampling Station ST Storage-ST TM Transmission Main (Manifold) WH Well Head |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| DEACTIVATION DATE FACILITY | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <FacilityDeactivationDate> | Required if ACTIVITY FLAG = “I” (Inactive Facility) | DATE(YYYYMMDD) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| STATE DATABASE FACILITY ID | <InventoryDataFlow> <WaterSystemFacilities> <FacilityDetails> <OtherFacility> <FacilityStateDatabaseIdentifier> | The ID that a state uses to identify a facility in their own state system database. | AN(40) |

13.  LEAD & COPPER SAMPLES’ 90th PERCENTILES

All 90th Percentile calculations for Lead and Copper monitoring which exceed the Action Level AND 90th Percentile calculations for Lead and Copper monitoring for all water systems serving over 3,300 people.  Optionally, EPA prefers reporting of all lead 90th Percentile calculations regardless of PWS size or action level exceedance.  Only lead and copper 90th Percentiles are accepted at this time.  Use the SDWIS/FedRep Objects SAMPLE and RESULT to submit this data.

| SDWIS/FedRep Business Object: SAMPLE |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <SamplesDataFlow> <Samples> <SampleDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| SAMPLE ID | <SamplesDataFlow> <Samples> <SampleDetails> <SampleIdentifier> | A qualifier used to uniquely identify a specific sampling occurrence related to a PWS. | AN(20) |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| FACILITY ID | <SamplesDataFlow> <Samples> <SampleDetails> <PWSFacilityIdentifier> | A state-assigned value which identifies the Water System Facility | AN(12) |
| SAMPLE BEGIN DATE | <SamplesDataFlow> <Samples> <SampleDetails> <SampleDateDetails> <MonitoringPeriodDetails> <MonitorPeriodBeginDate> | Required if the results for this sample include the Sample Contaminants PB90 or CU90, the Sample Begin Date shall be required. | DATE(YYYYMMDD) |
| SAMPLE END DATE | <SamplesDataFlow> <Samples> <SampleDetails> <SampleDateDetails> <MonitoringPeriodDetails> <MonitorPeriodEndDate> | Required if the results for this sample include the Sample Contaminants PB90 or CU90, the Sample End Date shall be required. | DATE(YYYYMMDD) |
| SAMPLE COLLECTION DATE | <SamplesDataFlow> <Samples> <SampleDetails> <SampleDateDetails> <CollectionDate> | Required iff the results for this sample include the Sample Contaminants PB90 or CU90, the Sample Collection Date shall be required. | DATE(YYYYMMDD) |
| SOURCE TYPE | <SamplesDataFlow> <Samples> <SampleDetails> <SampleFacilityWaterTypeCode> <SDWASampleFacilityWater TypeCode> | NOT PERMITTED FOR PB90 or CU90 | NOT PERMITTED FOR PB90 or CU90 AN(2) GU Ground water UDI of surface water GW Ground Water SW Surface Water |
| SAMPLE TYPE | <SamplesDataFlow> <Samples> <SampleDetails> <SampleWaterTreatmentCode> <SDWASampleWaterTreatmentCode> | NOT PERMITTED FOR PB90 or CU90 | NOT PERMITTED FOR PB90 or CU90 AN(2) FN Finished water sample RW Raw water sample |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| QTY COMPOSITED | <SamplesDataFlow> <Samples> <SampleDetails> <SampleQuantityCompositedValue> | NOT PERMITTED FOR PB90 or CU90 | NOT PERMITTED FOR PB90 or CU90 N(1) 2, 3, 4, or 5 |
| SAMPLING RECONCILIATION ID | <SamplesDataFlow> <Samples> <SampleDetails> <SampleReconciliationIdentifier> | An identifier used for reconciliation with the state data system or LAB assigned identifiers. | AN(40) |

| SDWIS/FedRep Business Object: SAMPLE RESULT |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| SAMPLE CONTAMINANT | <SamplesDataFlow> <Samples> <SampleDetails> <SampleResults> <SampleResultDetails> <SampleAnalyteCode> <SDWASampleAnalyteCode> | The identification number of the contaminant for which sample data have been reported for a public water system. | AN(4) CU90 Copper Action Level Exceedance PB90 Lead 90th Percentile Value |
| SAMPLE ANALYSIS RESULT | <SamplesDataFlow> <Samples> <SampleDetails> <SampleResults> <SampleResultDetails> <SampleAnalysisResultValue> | A numeric value that represents the result obtained from a sample's analysis. | N(15/9) |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| SAMPLE RESULT SIGN | <SamplesDataFlow> <Samples> <SampleDetails> <SampleResults> <SampleResultDetails> <SampleResultSignCode> <SDWASampleResultSignCode> | A sign value used to indicate the detection limit reported for data element SAMPLE ANALYSIS RESULT. | AN(1) < Below minimum detection limits = Exactly equal to the value reported |
| UNIT OF MEASURE | <SamplesDataFlow> <Samples> <SampleDetails> <SampleResults> <SampleResultDetails> <SampleUnitMeasureCode> <SDWASampleUnitMeasureCode> | NOT PERMITTED FOR PB90 or CU90 The unit of measure (UM) that is associated with the value reported for SAMPLE ANALYSIS RESULT | NOT PERMITTED FOR PB90 or CU90 AN(4) MG/L mg/l - milligrams/liter (parts per million) UG/L ug/l - micrograms/liter (parts per billion) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| SAMPLE ANALYSIS METHOD | <SamplesDataFlow> <Samples> <SampleDetails> <SampleResults> <SampleResultDetails> <SampleAnalysisMethodCode> <SDWASampleAnalysisMethod Code> | A code value that represents the analysis technique or method that was used to obtain an analytical result. | AN(5) |

14.  LEAD & COPPER MILESTONES

Describes actions taken with respect to milestones.  Use the SDWIS/FedRep Object EVENT SCHEDULE ACTIVITY to submit this data.

| SDWIS/FedRep Business Object: EVENT SCHEDULE ACTIVITY |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| EVENT ACTIVITY ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityIdentifier> | A State-assigned number which uniquely identifies the scheduled activity | AN(20) |
| ACTIVITY TYPE CODE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCode> <SDWAEventActivityCode> | Describes the activity associated with the schedule. | AN(4) DEEM System deemed optimized w/o OCCT DONE System done with OCCT LSLR Lead service line replacement required |
| ACTIVITY ACTUAL/DUE DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityActualDate> | The calendar date by which the activity must be successfully completed. | DATE(YYYYMMDD) |
| REASON CODE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityReasonCode> <SDWAEventActivityReason Code> | Required if Activity Type Code is equal to "Deem" Optional if Activity Type Code is equal to "Done" or “LSLR” | AN(5) B1 Serving fewer than 50,000; met action levels. B3 Serving greater than 50,000; met action levels. WQP Water Quality Parameters. |
| CONDITIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Conditions | Permitted Values |
| ACTIVITY END/ACHIEVED DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityEndDate> | Optional if Activity Type Code = "DONE" | DATE(YYYYMMDD) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ACTIVITY COMMENT | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCommentText> | An alphanumeric value that represents any description, characteristic, or attribute that the State or EPA region wants to record for the schedule activity. | AN(2000) |

15.  ACTIVITIES TO ADDRESS DEFICIENCIES AND SANITARY DEFECTS.

Describes corrective actions taken with  address Significant Deficiencies and Sanitary Defects identified during sanitary surveys and assessments.   Use the SDWIS/FedRep Object EVENT SCHEDULE ACTIVITY to submit these data.  At least one final corrective action Event Schedule Activity must be reported for each significant deficiency or sanitary defect.  Additionally interim corrective actions are reported when an interim step in the corrective action plan is not completed to the satisfaction of the Primacy Agency.

* Note: If Activities are not completed to the satisfaction of the Primacy Agency, the resulting violation must be reported and linked to the activity by including the EVENT ACTIVITY ID in the violation record.  See requirement #19 of this document for details of reporting violations.

| SDWIS/FedRep Business Object: EVENT SCHEDULE ACTIVITY |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| EVENT ACTIVITY ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityIdentifier> | A state-assigned number which uniquely identifies the Event Schedule Activity. | AN(20) |
| ACTIVITY TYPE CODE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCode> <SDWAEventActivityCode> | Describes the type of corrective action. | AN(4) SDFF Significant Deficiency Corrective Action SDFI Significant Deficiency Interim Step |
| ACTIVITY ACTUAL/DUE DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityActualDate> | The calendar date by which the corrective action must be successfully completed. | DATE(YYYYMMDD) |
| REASON CODE | <ActionsDataFlow> <EventScheduleActivities> <EventActivityReasonCode> <SDWAEventActivityReasonCode> | A code value that represents the rule which required this corrective action | AN(5) GW-Ground Water Rule SH-Subpart H (IESWTR) *RTCR-Revised TCR |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ACTIVITY END/ACHIEVED DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityEndDate> | The calendar date on which the corrective action was successfully completed. | DATE(YYYYMMDD) |
| ACTIVITY COMMENT | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCommentText> | An alphanumeric value that represents any description, characteristic, or attribute that the State or EPA region wants to record for the schedule activity. | AN(2000) |

16.  REPORT ACTIVITIES TO ADDRESS FECAL CONTAMINATION.

Describes corrective actions taken to address the presence of Fecal Contamination in Ground Water Sources.  Use the SDWIS/FedRep Object EVENT SCHEDULE ACTIVITY to submit these data.

* Note: If Activities are not completed to the satisfaction of the Primacy Agency, the resulting violation must be reported and linked to the activity by including the EVENT ACTIVITY ID in the violation record.  See requirement #19 of this document for details of reporting violations.

| SDWIS/FedRep Business Object: EVENT SCHEDULE ACTIVITY |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| EVENT ACTIVITY ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityIdentifier> | A state-assigned number which uniquely identifies the Event Schedule Activity. | A(20) |
| ACTIVITY TYPE CODE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCode> <SDWAEventActivityCode> | Describes the corrective action. | AN(4) FICF Fecal Indicator Contamination Action FICI Fecal Indicator Interim Step |
| ACTIVITY ACTUAL/DUE DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityActualDate> | The calendar date by which the corrective action must be successfully completed. | DATE(YYYYMMDD) |
| *REASON CODE | <ActionsDataFlow> <EventScheduleActivities> <EventActivityReasonCode> <SDWAEventActivityReasonCode> | A code value that represents Ground Water. | AN(5) GW-Ground Water Rule |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ACTIVITY END/ACHIEVED DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityEndDate> | The calendar date on which the corrective action was successfully completed. | DATE(YYYYMMDD) |
| ACTIVITY COMMENT | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCommentText> | An alphanumeric value that represents any description, characteristic, or attribute that the State or EPA region wants to record for the schedule activity. | AN(2000) |

*17.  REPORT TREATMENT TECHNIQUE TRIGGERS  FOR REVISED TOTAL COLIFORM RULE

Describes Level 1 and Level 2 treatment technique triggers (TTT) for the Revised Total Coliform Rule (RTCR).  Use the SDWIS/FedRep Object EVENT SCHEDULE ACTIVITY to submit these data.

| SDWIS/FedRep Business Object: EVENT SCHEDULE ACTIVITY |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| EVENT ACTIVITY ID | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityIdentifier> | A state-assigned number which uniquely identifies the Event Schedule Activity. | A(20) |
| ACTIVITY TYPE CODE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCode> <SDWAEventActivityCode> | Describes the type of triggered treatment technique. | AN(4) RTL1-RTCR Level 1 Treatment Technique Trigger RTL2-RTCR Level 2 Treatment Technique Trigger |
| ACTIVITY ACTUAL/DUE DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityActualDate> | The calendar date when the triggered assessment certification must be submitted. | DATE(YYYYMMDD) |
| REASON CODE | <ActionsDataFlow> <EventScheduleActivities> <EventActivityReasonCode> <SDWAEventActivityReasonCode> | A code value that represents what triggered the treatment technique. | AN(5) L2-TA RTCR MCL Treatment Technique Trigger L2-TB RTCR Second Level 1Treatment Technique Trigger L1-TC RTCR TC+ with Insufficient Repeat Treatment Technique Trigger’ L1-TD RTCR Multiple TC+ Treatment Technique Trigger Activity Type Code and Allowed Reason Code(s). Activity Type Code; Reason Code PVs. RTL1; L1-TC, L1-TD. RTL2; L2-TA, L2-TB. |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| ACTIVITY END/ACHIEVED DATE | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityEndDate> | The calendar date on which the activity was successfully completed. | DATE(YYYYMMDD) |
| ACTIVITY COMMENT | <ActionsDataFlow> <EventScheduleActivities> <EventScheduleActivityDetails> <EventActivityCommentText> | An alphanumeric value that represents any description, characteristic, or attribute that the State or EPA region wants to record for the schedule activity. | AN(2000) |

18*.  REPORT ALL SANITARY SURVEYS AND ASSESSMENTS CONDUCTED

Characterizes a call conducted by a representative of a regulatory agency for the purpose of compliance inspection, technical support, or complaint investigation. The results of the site visit are documented and can result in violations.  For the purposes of Minimum Reporting Requirements, all Sanitary Surveys and Assessments conducted must be reported with the eight category evaluations described in the Interim Enhanced Surface Water Rule and Groundwater Rule and listed below as conditionally required.  Optionally, other types of visits may be reported.  Use the SDWIS/FedRep Object SITE VISIT to submit this data.

| SDWIS/FedRep Business Object: SITE VISIT |  |  |  |  |
| --- | --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |  |
| PWS ID | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |  |
| VISIT ID | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitIdentifier> | *A value used to uniquely identify a specific on-site visit/assessment made to a PWS. | AN(20) |  |
| VISIT DATE | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitDate> | *A value that represents the calendar date on which a visit/assessment was made to a PWS. | DATE(YYYYMMDD) |  |
| VISIT REASON | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitReasonCode> <SDWAVisitReasonCode> | *A code value representing the reason a visit/assessment was made to a PWS. | AN(4) *VISIT TYPES WHICH MUST BE REPORTED LV1A Level 1 Assessment rTCR LV2A Level 2 Assessment rTCR L1SS Level 1 Assessment and Sanitary Survey L2SS Level 2 Assessment and Sanitary Survey L1PS Level 1 Assessment and Partial Sanitary Survey L2PS Level 2 Assessment and Partial Sanitary Survey SNSP Sanitary Survey, Partial SNSV Sanitary Survey, Complete SSVF Sanitary Survey Follow-up VISIT TYPES WHICH MAY BE REPORTED CAPD-Capacity Development Assessment CMPA-Compliance Assistance CNST-Construction Inspection CPEV-Comprehensive Performance Evaluation (CPE) EMRG-Emergency Assistance ENGR-Engineering Determination/Advice/Plan Review FENF-Formal Enforcement FUFE-Follow-up to Formal Enforcement IENF-Informal Enforcement INFI-Informal System Inspection INVG-Investigation LABC-Laboratory Certification LABI-Laboratory Inspection LOCD-Locational Data Collection NEED-Needs Survey OM-Operation and Maintenance OTHR-Other PRMT-Permit PUBH-Public Hearing RCDR-Record Review RSCH-Regularly Scheduled SHAZ-Sanitary Hazards Investigation SITE-Site Inspection SMPL-Sample Collection SRCE-Source Water Inspection SRF-State Revolving Fund |  |
| VISIT AGENCY TYPE | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitAgencyCode> <SDWAVisitAgencyCode> | *A coded value that represents the type of agency that conducted the Site Visit/assessment. | AN(2) AR Alaskan Remote Village AT Authority BR Borough CM Commission CN County CT City DS District FD Federal MN Municipality NA Native American Tribe PR Parish RG Region SA State Administrative District SC State contractor SD School District SR State Administrative Region ST State TA Non-State Provider Eng/Tech Assist Firm TW Town WD Water District WS Water System |  |
| CATEGORY EVALUATION MANAGEMENT AND OPERATIONS | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitManagementOperations EvaluationCode> <SDWAVisitCategory EvaluationCode> | *A coded value that describes in summary, the outcome of evaluating this category during the site visit/assessment. This is one of the elements set out in EPA/State Joint Guidance on Sanitary Surveys or Data Entry Instructions for assessments. This field is mandatory if Visit Reason = SNSP, SNSV, SNSP, LV1A, LV2A, L1SS, L2SS, L1PS, or L2PS |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated Z Not applicable |
| CATEGORY EVALUATION SOURCE | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitSourceEvaluationCode> <SDWAVisitCategoryEvaluation Code> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION PUMPS | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitPumpsEvaluationCode> <SDWAVisitCategoryEvaluation Code> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION OPERATOR COMPLIANCE | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitOperatorCompliance EvaluationCode> <SDWAVisitCategoryEvaluation Code> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION MONITORING REPORTING DATA VERIFICATION | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitDataVerificationEvaluation Code> <SDWAVisitCategoryEvaluation Code> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION TREATMENT | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitTreatmentEvaluation Code> <SDWAVisitCategoryEvaluation Code> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION FINISHED WATER STORAGE | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitFinishedWaterStorage Evaluation Code> <SDWAVisitCategory EvaluationCode> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION DISTRIBUTION | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitDistributionEvaluation Code> <SDWAVisitCategoryEvaluation Code> | * “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| OPTIONAL DATA |  |  |  |  |
| Element Name | XML Schema Tags | Comments |  | Permitted Values |
| CATEGORY EVALUATION SECURITY | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitSecurityEvaluationCode> <SDWAVisitCategoryEvaluation Code> | *A coded value that describes in summary, the outcome of evaluating this category during the site visit. This category represents the review of the security and preparedness of the water system to respond to emergencies. This is NOT one of the elements set out in EPA/State Joint Guidance on Sanitary Surveys or Data Entry Instructions for Assessments. |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION OTHER | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitOtherEvaluationCode> <SDWAVisitCategoryEvaluation Code> | “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| CATEGORY EVALUATION FINANCIAL | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCategoryEvaluationDetails> <VisitFinancialEvaluationCode> <SDWAVisitCategoryEvaluation Code> | “ “ “ “ |  | AN(1) *D Sanitary Defect M Minor deficiencies. N No deficiencies or recommendations. R Recommendations made. S Significant deficiencies. X Not evaluated. Z Not applicable |
| SITE VISIT COMMENT | <ActionsDataFlow> <SiteVisits> <SiteVisitDetails> <VisitCommentText> | *An alphanumeric value that represents any description, characteristic, or attribute that the State or EPA Region wants to record for the site visit/assessment. |  | AN(2000) |

19.  REPORT ALL RULE VIOLATIONS

Describes violations issued against a public water system when there is a failure to meet certain state/region or federal drinking water regulations. Violations are detected by assessment of sample results or reviews (including during site visits) and may lead to legal actions or compliance orders. Violations are publicized, when required, by public notification and may be remedied by enforcement (e.g., by improved filtration techniques or changes in procedures).  Use the SDWIS/FedRep Object VIOLATIONS to submit this data.

| SDWIS/FedRep Business Object: VIOLATIONS |  |  |  |
| --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| PWS ID | <ActionsDataFlow> <Violations> <ViolationDetails> <PWSIdentifier> | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| VIOLATION ID | <ActionsDataFlow> <Violations> <ViolationDetails> <ViolationIdentifier> | An alphanumeric value used to uniquely identify a specific violation of a primary drinking water regulation incurred by a public water system | AN(20) |
| VIOLATION TYPE | <ActionsDataFlow> <Violations> <ViolationDetails> <ViolationTypeCode> <SDWAViolationTypeCode> |  | 01 MCL, Single Sample 02 MCL, Average 03 Monitoring, Regular 04 Monitoring, Check/ Repeat/ Confirmation 05 Notification, State 06 Notification, Public (Pre-2003) 07 Treatment Techniques 08 Variance/ Exemption/ Other Compliance 09 Record Keeping 11 Non-Acute MRDL 12 Qualified Operator Failure 13 Acute MRDL 19 Monitoring, GWR Assessment Source Water 20 Failure to Consult/Respond 27 Monitoring, Routine (DBP) 28 Sanitary Survey Cooperation Failure 29 M&R Filter Profile/CPE Failure 30 Monitoring/Submit Plan (IDSE) 31 Monitoring of Treatment (Unfilt/GWR) 32 Monitoring, Source Water (LT2) 33 Failure Submit Treatment Requirement Rpt 34 Monitoring, GWR Triggered/Additional 35 Failure Submit Stage 2 DBPR Report 36 Monitoring of Treatment (SWTR-Filter) 37 Treatment Technique, No Prior State Approval 38 M&R Filter Turbidity Reporting 39 Monitoring and Reporting (FBR) 40 Treatment Technique (FBR) 41 Failure to Maintain Microbial Treatment 42 Failure to Provide Treatment 43 Single Turbidity Exceed (Enhanced SWTR) 44 Treatment Technique Exceeds Turb 0.3 NTU 45 Failure to Address Deficiencies 46 Treatment Technique Precursor Removal 47 Treatment Technique Uncovered Reservoir 48 Failure to Address Contamination 51 Initial LCR Tap Sampling 52 Follow-up and Routine Tap Sampling 53 Water Quality Parameter M & R 56 Initial, Follow-up, or Routine SOWT M&R 57 OCCT/SOWT Recommendation 58 OCCT/SOWT Installation 59 Water Quality Parameter Non-Compliance 63 MPL Non-Compliance 64 Lead Service Line Replacement (LSLR) 65 Public Education 66 Lead Consumer Notice 71 CCR Complete Failure to Report 72 CCR Inadequate Reporting 73 Failure to Notify Other PWS 75 PN Violation for an NPDWR Violation 76 PN Violation without NPDWR Violation *1A MCL, E. coli (RTCR) *2A TT, Level 1 Assessment (RTCR) *2B TT, Level 2 Assessment (RTCR) *2C TT, Corrective/Expedited Actions (RTCR) *2D Treatment Technique Startup Procedures *3A Monitoring, Routine (RTCR) *3B Monitoring, Additional Routine (RTCR) *3C Monitor Coliform Turbidity Trigger RTCR *3D Monitoring, Lab Cert/Method Error (RTCR) *4A Reporting, Assessment Forms (RTCR) *4B Report Sample Result/Fail Monitor RTCR *4C Report Startup Procedures Cert Form RTCR *4D Notification, E Coli Positive (RTCR) *4E Notification, E. coli MCL (RTCR) *4F Notify L1/L2 TT Vio, Correct Action RTCR *5A Sample Siting Plan Errors (RTCR) *5B Recordkeeping Violations (RTCR) |
| COMPLIANCE PERIOD BEGIN DATE | <ActionsDataFlow> <Violations> <ViolationDetails> <CompliancePeriodDetails> <CompliancePeriodBeginDate> | The calendar date of the beginning of a period in which a Public water system was determined to be in violation of a primary drinking water regulation | DATE(YYYYMMDD) |
| CONDITIONAL DATA |  |  |  |
| NOTE: The business rules for these elements are dependent upon the violation type. See the table below for specific requirements. |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| CONTAMINANT CODE | <ActionsDataFlow> <Violations> <ViolationDetails> <ViolationAnalyteCode> <SDWAViolationAnalyteCode> | A code value that represents a contaminant for which a public water system has incurred a violation of a primary drinking water regulation | AN(4) |
| COMPLIANCE PERIOD END DATE | <ActionsDataFlow> <Violations> <ViolationDetails> <CompliancePeriodDetails> <CompliancePeriodEndDate> | The calendar date of the end of a monitoring period in which a public water system was in violation of a primary drinking water regulation | AN(15/9) |
| ANALYSIS RESULT | <ActionsDataFlow> <Violations> <ViolationDetails> <AnalysisResultValue> | A numeric value that represents the result obtained from a single analysis, or the average result obtained from multiple analyses, that led to the identification of an MCL violation for a public water system | AN(15/9) |
| VIOLATION UNIT OF MEASURE | <ActionsDataFlow> <Violations> <ViolationDetails> <ViolationUnitMeasure> | The unit of measure associated with the value reported for ANALYSIS RESULT for violations | AN(9) %LUM Percent Luminance %PUR Percent Purity ADMIU ADMI Color Value AGGR Aggressive Index C Degrees Celsius CM-1 Per Centimeter CT Contact Time CU Color Units F Degrees Fahrenheit FTU Flavor Threshold Units L/MG-CM Liter per Milligram-Centimeter L/MG-M Liter per Milligram-Meter LANG Langlier Index LBS/CFT Pounds per Cubic Foot LBS/GAL LBS/GAL MFL Million Fibers per Liter MG/L Milligrams per Liter MREM Millirems MREMY Millirems per Year NG/L Nanogram per Liter NM Nanometer NTU Nephelometric Units OBSVNS Observations/field at 100 Power PCI/L Picocurie per Liter PH pH RATIO Ratio of Actual/Required TOC removal SU Standard Units TON Threshold Odor Number UG/L Micrograms per Liter UMHO/CM Micromhos per Centimeter UNITS Units |
| UNDERLYING OBJECT ID | <Violations> <ViolationDetails> <RequiredReportingDetails> <UnderlyingObjectIdentifier> | This field contains the unique identifier for the underlying object which in combination with the PWS ID, Violation Type, Contaminant, Compliance Period Begin Date, and Facility ID makes a unique violation | AN(20) |
| UNDERLYING OBJECT DATA TYPE | <Violations> <ViolationDetails> <RequiredReportingDetails> <UnderlyingObjectDataType> | A code value that indicates the type of UNDERLYING OBJECT submitted | AN(10) CORACTION Corrective Action Event Schedule Activity SMPLRESULT Precipitating Sample Analytical Result |
| PUBLIC NOTICE UNDERLYING VIOLATION ID | <ActionsDataFlow> <Violations> <ViolationDetails> <PublicNoticeUnderlying ViolationIdentifier> | For a public notice violation, this field contains the violation ID of the original violation and must be reported for type 75 violations This field contains the unique identifier for the underlying object which in combination with the PWS ID, Violation Type, Contaminant, Compliance Period Begin Date, and Facility ID makes a unique violation | AN(20) |
| LEVEL VIOLATED | <ActionsDataFlow> <Violations> <ViolationDetails> <LevelViolatedValue> | A numeric value that represents the maximum contaminant level which was exceeded that led to the identification of an MCL violation for a public water system. Only reported when the State MCL is more stringent than the Federal MCL | N(15/9) |
| MAJOR VIOLATION INDICATOR | <ActionsDataFlow> <Violations> <ViolationDetails> <MajorViolationIndicator> <SDWAMajorViolation Indicator> | A code value that indicates the severity of a Monitoring and Reporting (M&R) violation, major or minor. | AN(1) N – No Y - Yes |
| SEVERITY INDICATOR COUNT | <ActionsDataFlow> <Violations> <ViolationDetails> <SeverityIndicatoryCount> | A count indicating the severity of certain DBPR and IESWTR violations. | N(3/0) |
| OPTIONAL DATA |  |  |  |
| Element Name | XML Schema Tags | Comments | Permitted Values |
| FACILITY ID | <ActionsDataFlow> <Violations> <ViolationDetails> <PWSFacilityIdentifier> | Water System Facility (WSF) where the violation occurred. This field contains the unique identifier for the underlying object which in combination with the PWS ID, Violation Type, Contaminant, Compliance Period Begin Date, and Facility ID makes a unique violation | AN(12) |

20.  REPORT ALL ENFORCEMENT ACTIONS TAKEN

Describes enforcement actions taken against a public water system usually in response to rule violations.  Normally, these actions are linked to one or more rule violations.  Use the SDWIS/FedRep Object ENFORCEMENT ACTION to report this information.

| SDWIS/FedRep Business Object: ENFORCEMENT ACTION & ASSIGNMENT CRITERIA OBJECT |  |  |  |  |
| --- | --- | --- | --- | --- |
| REQUIRED DATA |  |  |  |  |
| Element Name | XML Schema Tags |  | Comments | Permitted Values |
| PWS ID | <ActionsDataFlow> <Enforcements> <EnforcementDetails> <PWSIdentifier> |  | This qualifier is used to uniquely identify a Public Water System. | AN(9) |
| ENFORCEMENT ID | <ActionsDataFlow> <Enforcements> <EnforcementDetails> <EnforcementIdentifier> |  | An alphanumeric value used to uniquely identify a specific enforcement action taken against a public water system. It is unique for each public water system. | AN(20) |
| ENFORCEMENT DATE | <ActionsDataFlow> <Enforcements> <EnforcementDetails> <EnforcementDate> |  | A value that represents the calendar date on which an enforcement action was taken against a public water system. | DATE(YYYYMMDD) |
| ACTION CODE | <ActionsDataFlow> <Enforcements> <EnforcementDetails> <SDWAEnforcementActionCode> <EnforcementActionCode> <SDWAEnforcementActionCode> |  | Specifies a code value representing the specific type of the enforcement action taken. NOTE: Primacy Agencies must use the Action Codes which start with “S”. Only EPA may enter Action Codes which start with “E” | AN(3) STATE CODES SF% Civil Case concluded SF& Crim Case referred to AG SF2 Referred for Higher St Level Review SF3 Case appealed SF4 Case dropped SF5 Hook-up/Extension Ban SF9 Civil Case referred to AG SFG Public Notif issued SFH Boil Water Order SFJ Formal NOV issued SFK BCA signed SFL AO (w/o penalty) issued SFM Admin Penalty assessed SFN Show-cause Hearing SFO AO (w/penalty) issued SFP Civil Case under development SFQ Civil Case filed SFR Consent Decree/Judgement SFS Default Judgement SFT Injunction SFU Temp Restrain Order/Prelim Injunc SFV Crim Case filed SFW Crim Case concluded SIA Violation/ Reminder Notice SIB Compliance Meeting conducted SIC Tech Assistance Visit SID Site Visit (enforcement) SIE Public Notif requested SIF Public Notif received SII CCR Follow-up Notice SO+ No addtl Formal Action needed SO0 No Longer Subject to Rule SO6 Intentional no-action SO7 Unresolved SO8 Other SOX Compliance achieved SOY Variance/ Exemption issued SOZ St Turbidity Waiver issued |
| OPTIONAL DATA |  |  |  |  |
| Element Name |  | XML Schema Tags | Comments | Permitted Values |
| ENFORCEMENT COMMENT |  | <ActionsDataFlow> <Enforcements> <EnforcementDetails> <EnforcementCommentText> | An alphanumeric value that represents any description, characteristic, or attribute that the State or EPA region wants to record for the associated enforcement action data base record. | AN(2000) |
| ASSOCIATED J5000 GROUP |  | <ActionsDataFlow> <Enforcements> <EnforcementAssignments> <EnforcementAssignmentDetails> <EnforcementAssociationDetails> <AssociatedViolationCriteriaDetails> | This is a group element that contains an Enforcement Action Begin Date; Enforcement Compliance Date; Violation Type; Contaminant; Rule | AN(0) |
| ASSOCIATED VIOLATION IDS (Y5000) |  | <ActionsDataFlow> <Enforcements> <EnforcementAssignments> <EnforcementAssignmentDetails> <EnforcementAssociationDetails> <AssociatedViolationIdentifier> <EnforcementDetails> | One or more Violation IDs that are associated to an Enforcement Action. | AN(12) |