## Report Instructions
Instructions for Management Annual Report
Enter system information and year on January page. Cells in the individual monthly pages must have an entry. Enter a zero if no value is available. Entries must match values from the Monthly Reports.
Enter begin date and end date for the billing period for each monthly report. (NOTE: Begin date for following month should be same as the end date of previous month.)
Water Cost
Line 1 & 2: Insert the cost per thousand gallons for water produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Produced or Purchased
Line 3 & 4: Insert the total gallons produced or purchased. Entries must be made in both cells. If water not produced or purchased enter a zero in the respective cell.
Water Sold
Line 7: Enter the total gallons sold to residential customers.
Line 8: Enter the total gallons sold to commercial customers such as businesses, stores, etc.
Line 9: Enter the total gallons sold to industrial customers such as factories, maunfacturers, etc.
Line 10: Enter the total gallons sold through bulk loading stations.
Line 11: Enter total gallons sold to other water systems or for special long term contracts, etc.
Line 12: Enter total gallons sold to public authorities such as fire stations, public pools, parks, etc.
Line 13: Enter total gallons sold that is not included in lines 7 through 12 above. An example would a temporary or one time sale to a farmer or home construction site. An explanation MUST be included.
Water Used
Line 16: Enter gallons used at the water treatment plant for production, filter backwash, basin cleaning, etc. Do not enter usage that occurs prior to the metered entry point to the distribution system.
Line 17: Enter gallons used at the wastewater treatment plant including chemical feed, basin cleaning, etc.
Line 18: Enter gallons used for hydrant flushing for routine and complaint flushing.
Line 19: Enter gallons used for hydrant flushing and forced tank overflow for DBP flushing.
Line 20: Enter gallons used for fire department usage for training and fire fighting.
Line 21: Enter total gallons used that is not included in lines 16 through 20 above. MUST explain.
Documented Water Lost
Line 23: Enter gallons lost due to documented tank overflows other than for DBP maintenance.
Line 24: Enter gallns for main line repairs for long term leaks during current month.
Line 25: Enter gallons for service line repairs for leaks during current month.
Line 26: Enter gallons lost such as from AWWA line leakage calculation, meter inaccuracies, meter mis-reads, computer and billing adjustments. Documentation MUST be on file for any line leaks entry.
Line 27: Enetr gallons lost for repairs made for short term "Excavation" breaks.
Line 28 Enter gallons lost due to theft during curent month. Documentation MUST be on file.
Unknown Loss
NOTE: Lines 31 through 36 provides information on water that was not sold, used, or lost in documented ways. The amount on line 31 is water lost in still undiscovered locations. This section of the report provides a breakdown of the amounts and costs of this "Unknown Loss".
NOTE: Line 37 is the percentage of water loss for ratemaking puposes for systems under PSC authority. The total gallons lost, known and unknown, is divided by the total produced and/or purchased to determine this percentage.

## January
Board and Management
Monthly Water Use Report
Water Utility: | [5 empty] | PWSID:
For the Month of: |  | January |  |  |  | Year:
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## February
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | February |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## March
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | March |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## April
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | April |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## May
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | May |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## June
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | June |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## July
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | July |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## August
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | August |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## September
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | September |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## October
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | October |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## November
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | November |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## December
Board and Management
Monthly Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
For the Month of: |  | December |  |  |  | Year: | 0
Billing Period: |  |  |  | to
1 | PRODUCTION COST PER THOUSAND |  |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  |  | (insert cost)
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale | (other water systems, special contracts, etc.)
12 | Public Authorities |  | (fire departments, public pools, parks, etc.)
13 | Other Sales (explain)
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant
17 | Wastewater Treatment Plant
18 | System Flushing |  | (routine and complaint flushing)
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing)
20 | Fire Department |  | (documented for firefighting and training)
21 | Other Usage (explain)
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance)
24 | Main Line Breaks |  | (long term leakage during current month)
25 | Service Line Breaks |  | (repaired during current month)
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.)
27 | Excavation Damage Loss |  |  | (short term leakage)
28 | Theft | (documented)
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | (insert billing period dates at top of page) |  |  |  |  | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Month
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019
© 2019

## Management Annual Report
Board and Management
Annual Water Use Report
Water Utility: |  | 0 |  |  |  | PWSID: | 0
[6 empty] | Year: | 0
1 | PRODUCTION COST PER THOUSAND |  |  |  | #DIV/0! |  | #DIV/0!
2 | PURCHASE COST PER THOUSAND |  |  |  | #DIV/0! |  | #DIV/0!
| WATER PRODUCED or PURCHASED | [5 empty] | GALLONS
3 | Water Produced |  |  |  | #DIV/0! |  | 0
4 | Water Purchased |  |  |  | #DIV/0! |  | 0
5 | TOTAL PRODUCED AND PURCHASED | [5 empty] | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential | [5 empty] | 0
8 | Commercial | [5 empty] | 0
9 | Industrial | [5 empty] | 0
10 | Bulk Loading Stations | [5 empty] | 0
11 | Wholesale | (other water systems, special contracts, etc.) |  |  |  |  | 0
12 | Public Authorities |  | (fire departments, public pools, parks, etc.) |  |  |  | 0
13 | Other Sales (explain) |  | Refer to individual monthly reports |  |  |  | 0
14 | TOTAL WATER SOLD | [5 empty] | 0
15 | TOTAL WATER NOT SOLD | [5 empty] | 0
BREAKDOWN OF WATER USAGE
16 | Water Treatment Plant | [5 empty] | 0
17 | Wastewater Treatment Plant | [5 empty] | 0
18 | System Flushing |  | (routine and complaint flushing) |  |  |  | 0
19 | DBP Flushing |  | (forced tank overflows and hydrant flushing) |  |  |  | 0
20 | Fire Department |  | (documented for firefighting and training) |  |  |  | 0
21 | Other Usage (explain) |  | Refer to individual monthly reports. |  |  |  | 0
22 | TOTAL USAGE | [5 empty] | 0
BREAKDOWN OF WATER LOST
23 | Tank Overflows (other than for DBP maintenance) | [5 empty] | 0
24 | Main Line Breaks |  | (repaired long term leakage on main lines) |  |  |  | 0
25 | Service Line Breaks |  | (repaired prior to customer meters) |  |  |  | 0
26 | Line Leaks (calculated line leakage, meter inaccuracies, etc.) | [5 empty] | 0
27 | Excavation Damage Loss |  |  | (short term leakage) |  |  | 0
28 | Theft | (documented) |  |  |  |  | 0
29 | TOTAL DOCUMENTED WATER LOST | [5 empty] | 0
30 | COST OF DOCUMENTED WATER LOST
"UNKNOWN LOSS" FLOW RATE AND COST:
31 | [5 empty] | "Unknown Loss" | 0
32 | [5 empty] | % "Unknown Loss"
33 | [5 empty] | Number of Days in Period | 0
34 | [5 empty] | "Unknown Loss" per Day (Gallons per Day) | #DIV/0!
35 | [5 empty] | "Unknown Loss" per Minute (GPM) | #DIV/0!
36 | [5 empty] | "Unknown Loss" Cost for Year
37 | WATER LOSS PERCENTAGE FOR PSC RATEMAKING PURPOSES
© 2019

## PSC Annual Report
PUBLIC SERVICE COMMISSION
Annual Water Loss Report
Water Utility: |  | 0 |  | PWSID: | 0
|  |  |  | Year: | 0
LINE # |  |  | ITEM | GALLONS (Omit 000's)
1 | WATER PRODUCED, PURCHASED, & DISTRIBUTED
2 | Water Produced |  |  |  | 0
3 | Water Purchased |  |  |  | 0
4 | TOTAL WATER PRODUCED AND PURCHASED |  |  |  | 0
5
6 | WATER SALES
7 | Residential |  |  |  | 0
8 | Commercial |  |  |  | 0
9 | Industrial |  |  |  | 0
10 | Bulk Loading Stations |  |  |  | 0
11 | Wholesale |  |  |  | 0
12 | Public Authorities |  |  |  | 0
13 | Other Sales (explain) |  |  |  | 0
14 | TOTAL WATER SALES |  |  |  | 0
15
16 | OTHER WATER USED
17 | Utility and/or Water Treatment Plant |  |  |  | 0
18 | Wastewater Plant |  |  |  | 0
19 | System Flushing |  |  |  | 0
20 | Fire Department |  |  |  | 0
21 | Other Usage (explain) |  |  |  | 0
22 | TOTAL OTHER WATER USED |  |  |  | 0
23
24 | WATER LOSS
25 | Tank Overflows |  |  |  | 0
26 | Line Breaks |  |  |  | 0
27 | Line Leaks |  |  |  | 0
28 | Excavation Damages |  |  |  | 0
29 | Theft |  |  |  | 0
30 | Other Loss (explain) |  | Unknown Loss |  | 0
31 | TOTAL LINE LOSS |  |  |  | 0
32
33 | Note: Line 14 + Line 22 + Line 31 Must Equal Line 4
34
35 | WATER LOSS PERCENTAGE
36 | (Line 31 Divided by Line 4) |  |  |  | #DIV/0!