## Slide 1: Antelope Valley-East Kern Water Agency
Antelope Valley-East Kern Water Agency Looking to the Future: Benefits of Groundwater Banking
Urban Water Institute Conference
August 15, 2019

## Slide 2: Outline
    Introduction to AVEK
    Overview of Groundwater Banking
    Benefits of Groundwater Banking
    Regional Banking and Recharge Projects
    Water Supply Scenario
    Before and After Groundwater Banking
    Building a Sustainable Water Supply for the Future
Notes: 24% area increase

## Slide 3: Introduction to AVEK
  3rd Largest State Water Project Contractor
    144,844 AF SWP allocation
  2400 square mile territory with portions of Los Angeles, Kern, and Ventura counties
  Wholesale water supplier serving a population of approx. 500,000
  Over 20 municipal users including Edwards Air Force Base, Plant 42, and U.S. Borax
Antelope Valley Region
Notes: 24% area increase

## Slide 4: Introduction to AVEK
  4 water treatment facilities
  State-of-the-art laboratory
  17 water storage reservoirs with 72 million gallon capacity
  180+ miles of distribution pipeline
Notes: 24% area increase

## Slide 5: Overview of Groundwater Banking
  Surplus imported water stored locally during wet years
  Recover stored water for beneficial use at time of need.
Notes: 24% area increase

## Slide 6: Overview of Groundwater Banking
Notes: 24% area increase

## Slide 7: Benefits of Groundwater Banking
Water Supply Reliability
  Safety net for drought and SWP outages or interruptions.
  Increased supply yield by capturing water that otherwise would have been lost.
  Allows for delivery of stored/banked water under nearly any condition.
  Increased assurance within an adjudicated groundwater basin.
Water Quality Improvement
  Geo-purification / Soil-Aquifer Treatment (SAT) provides high quality recovered water without treatment
  Economical, relative to other treatment alternatives
  Blending recovered groundwater with imported supply has been shown to reduce THM level by 17-25 µg/L
  Continued regulatory compliance
Notes: 24% area increase

## Slide 8: Regional Banking & Recharge Projects
    Westside Water Bank
      Completed in 2010
      Annual recharge and recovery: 40,000 AF
      Total storage: 150,000
    Eastside Water Bank
      Completed in 2016
      Annual recharge and recovery: 2,200 AF
      Total storage: 5700 AF
      Primary purpose is to improve raw water quality
    High Desert Water Bank
      Under development
      Annual recharge and recovery: 70,000 AF
      Total storage: 280,000 AF
Notes: 24% area increase

## Slide 9: Water Supply Scenario
    SWP Allocation History
    Difficult to predict
    Drought, aging infrastructure and climate change threaten future supply reliability
    SWP allocations trending downward since 2000
Notes: 24% area increase

## Slide 10: Drought Impacts Before Groundwater Banking
Supply impacts
  Pump back program - pay farmers to pump well water back to aqueduct
  Water Storage Contingency Plan
    Limited customer deliveries
    Pumping water from over-drafted groundwater basin
Financial impacts
  Seek new “high cost” water sources
  Additional treatment and operational costs related to low allocation
    Power
    Chemicals & supplies
    Labor
  Revenue Impacts
    Reduced water sales
  Increased rates to customers
Notes: 24% area increase

## Slide 11: Drought Resiliency after Groundwater Banking
Supply
  Can rely on current supply and operational modes
  No longer rely on pumping local groundwater supplies
  Can provide adequate supply for customer demands
  Improved water quality with blending of imported surface water
Financial
  Reduced costs without the need to import additional water sources
  Reduced pass-through costs to customers
  Reduced treatment and operational costs
  Stable rate structure
Notes: 24% area increase

## Slide 12: Supply, Demand & Surplus
Average historical supply 2010-2018
  78,000 AF per year
  SWP Table A
Annual average customer demand
  42,000 AF per year
Surplus water supply
  Approximate loss before water banking: 35,000 AF per year
  No local drought supply protection prior to 2010
  Ability to bank 60,000 AF per year
  Current drought supply stored: 80,000 AF
Notes: 24% area increase

## Slide 13: Building a Sustainable Water Supply for the Future
    Groundwater banking objectives
      Develop groundwater bank resources to meet established water reliability goals
      Establish long-term storage goals for the agency
      Secure appropriate supplies to meet future customer demand
      Align groundwater banking goals with local adjudication
      Sustain the region’s groundwater basin for future generations
      Coordinate with other agencies to share our groundwater banking capabilities
      Secure agreements with other agencies and looking to expand our capacity as demand increases
Notes: 24% area increase

## Slide 14: Building a Sustainable Water Supply for the Future
    QUESTIONS?
Notes: 24% area increase