## Slide 1
Drought Response
Urban Water Institute
September 8, 2021

## Slide 2
2
Overview
Marin Water Overview
Current Water Supply
Approach to Drought
Marin Water Overview

## Slide 3: Marin Water Overview
California’s oldest municipal water district (Chartered in 1912)
Marin County’s largest drinking water provider, serving more than 191,000 people in central and southern Marin
Protecting and preserving 22,000 acres of watershed land on Mt. Tamalpais
3

## Slide 4: Current Water Supply
Two consecutive dry years: 2020 was the second-driest year in 90 years
Historic drought: The last 18 months of rainfall is among the lowest on record in more than 140 years
Cumulative Rainfall
4

## Slide 5: Historical Total Reservoir Storage
Chart: 
| 1984 | 1985 | 1986 | 1987 | 1988 | 1989 | 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021
Total Reservoir Storage | 58020 | 47258 | 59398 | 43320 | 40480 | 51913 | 37147 | 45340 | 59255 | 67576 | 53713 | 68751 | 67405 | 57725 | 69347 | 64369 | 64371 | 50706 | 61573 | 66107 | 59617 | 68532 | 64946 | 50475 | 54691 | 51878 | 66766 | 68389 | 65382 | 56596 | 53151 | 60073 | 65434 | 67721 | 65145 | 70013 | 55878 | 29636
Average | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158 | 58107.8158
September 2021
Notes: August 3 – 32,300 ac-ft (< 41% of total capacity)

## Slide 6: Projected Reservoir Storage
Chart: Total Reservoir Storage (Acre-Feet)
Average Rain | 25974.6734 | 25383.9038 | 26738.8292 | 34395.0188 | 44170.2252 | 51049.7344 | 54481.015 | 53328.8588 | 50855.1289 | 47319.1278 | 43481.6157 | 39919.5575 | 36823.9991 | 36233.2295 | 37588.1549 | 45244.3445
50% Average Rain | 25974.6734 | 25075.8038 | 24863.3402 | 26357.9576 | 28196.4325 | 29356.5579 | 29445.0284 | 27817.5 | 25524.5914 | 22204.3903 | 18696.5382 | 15459.14 | 12739.3816 | 11963.272 | 11869.6083 | 13486.9858
25% Average Rain | 25974.6734 | 24905.2179 | 24020.5915 | 23662.4691 | 23197.2914 | 22619.1466 | 21564.4272 | 19635.6783 | 17270.1995 | 13849.9984 | 10317.1463 | 7059.7481 | 4239.9897 | 3293.2942 | 2527.4678 | 2292.1054
Maximum | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566
Summer/Fall Projection | 32463 | 29013.5318 | 25974.6734
SummerFall 40% | 32463 | 29983.1965 | 27798.3931
Conservation 40% | 27798.3931 | 27501.9841 | 27692.7382 | 29703.0163 | 32080.3006 | 33908.3315 | 34789.3384 | 34361.2861 | 33403.2034 | 31354.4257 | 29048.3537 | 26780.6203 | 24914.9169 | 24741.2679 | 25050.8219 | 27183.86
Average Rain with 40% | 27798.3931 | 27810.0842 | 29568.2272 | 37740.0775 | 48054.0933 | 55601.5079 | 59825.325 | 59872.6449 | 58733.7409 | 56469.1632 | 53833.4312 | 51241.0378 | 48999.5344 | 49011.2254 | 50769.3685 | 58941.2187
40% conservation savings
Notes: Local Historical rainfall runoff patterns
Criticality of conservation to save considerable water given uncertainty surrounding rainfall patterns
-noting that at historic average rainfall-runoff amounts, reservoir storage is projected to be in the vicinity of 50,000 acre-feet at the end of next spring, so it will take considerable rainfall to fill the reservoirs and move the district back into a position
Projected Reservoir Storage: Next, moving into projected reservoir storage levels over the next 18 months. Going into the summer and fall months, no rainfall is considered until early October or so. At the same time, irrigation picks up and we expect the next summer months to be a critical opportunity to decrease outdoor water use and save that water. As shown here in the dashed blue line, without conservation, we project around 25,000 ac-ft if we receive 50% of normal rainfall in the early fall winter months. With conservation, significant impact can be on storage levels be seen here on the solid blue line, up around 30,000 ac-ft, and that is really contigent on IF WE ARE ABLE TO REACH OUR TARGET.
n we’ve seen in past years with more consistent rainfall

## Slide 7
Chart: Water Use (Million Gallons per Day)
| 44225 | 44232 | 44239 | 44246 | 44253 | 44260 | 44267 | 44274 | 44281 | 44288 | 44295 | 44302 | 44309 | 44316 | 44323 | 44330 | 44337 | 44344 | 44351 | 44358 | 44365 | 44372 | 44379 | 44386 | 44393 | 44400 | 44407 | 44414 | 44421 | 44428 | 44435
2021 Production | 14.9871 | 15.1943 | 14.9871 | 16.0386 | 18.3686 | 16.7314 | 15.8386 | 16.9271 | 20.2186 | 21.3114 | 22.8429 | 23.5629 | 21.4814 | 22.8586 | 23.2586 | 22.8386 | 23.1757 | 23.2929 | 23.2343 | 23.7386 | 23.7743 | 23.4129 | 23.1614 | 23.3429 | 22.7343 | 23.3643 | 22.0657 | 22.0729 | 22.1143 | 21.8243 | 22.0067
3-year Water Use | 16.2362 | 16.8682 | 16.8682 | 16.8682 | 16.7902 | 16.7316 | 16.7316 | 16.7316 | 17.027 | 18.7994 | 18.7994 | 18.7994 | 18.7994 | 23.4008 | 24.1677 | 24.1677 | 24.1677 | 26.2515 | 29.0298 | 29.0298 | 29.0298 | 29.2179 | 30.3467 | 30.3467 | 30.3467 | 30.3467 | 30.6855 | 30.821 | 30.821 | 30.821 | 30.4445 | 29.5034 | 29.5034 | 29.5034 | 29.5034 | 26.3028 | 26.3028 | 26.3028 | 26.3028 | 24.2996 | 22.7972 | 22.7972 | 22.7972 | 20.9918 | 16.4783 | 16.4783 | 16.4783 | 16.4783 | 16.4783
Target | 12.6519 | 12.9047 | 12.9047 | 12.9047 | 12.8735 | 12.8501 | 12.8501 | 12.8501 | 12.9682 | 13.6772 | 13.6772 | 13.6772 | 13.6772 | 15.5178 | 15.8245 | 15.8245 | 15.8245 | 16.658 | 17.7693 | 17.7693 | 17.7693 | 17.8446 | 18.2961 | 18.2961 | 18.2961 | 18.2961 | 18.4316 | 18.4858 | 18.4858 | 18.4858 | 18.3352 | 17.9588 | 17.9588 | 17.9588 | 17.9588 | 16.6785 | 16.6785 | 16.6785 | 16.6785 | 15.8773 | 15.2763 | 15.2763 | 15.2763 | 14.5541 | 12.7487 | 12.7487 | 12.7487 | 12.7487 | 12.7487
27% weekly reduction in water use
21% conservation since May 1st
Actual vs. Targeted Water Use
Notes: August 3 – 32,300 ac-ft (< 41% of total capacity)

## Slide 8: Approach to Current Drought
Customer outreach, education, and support
Water waste restrictions and outdoor irrigation limitations
Continue and enhance voluntary indoor water usage savings, moving to allotments/penalties
Pursue opportunities to augment water supply

## Slide 9: Residential Targets for Indoor Use
35 gpcd
55 gpcd
Most Efficient
On Track
Opportunity to Conserve
*gpcd = gallons per capita per day
0

## Slide 10: Marin Water’s Conservation Programs & Incentives
Rebates/Incentives
  Direct Metering Flume
  Rain Barrel/Cistern
  High Efficiency Clothes Washer
  Graywater
  Hot Water Recirculating System
  Pool and Spa Cover
  Turf Replacement
Focus Groups/High Water Users
Landscape professional training

## Slide 11: Emergency Drought Project Planning
Chart: Total Reservoir Storage (Acre-Feet)
2020 Scenario Rainfall | 25942 | 23564.2398 | 21236.5468 | 19824.2547 | 19448.4657 | 18886.4313 | 17596.9392 | 15256.0292 | 12618.6352 | 9564.4252 | 6434.393 | 3438.949 | 918.5273 | -1336.473 | -3545.3659 | -4834.898
Maximum | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566 | 79566
Summer/Fall Projection | 35122 | 31899.8978 | 28746.3866 | 25942
Estimated Unusable Volume | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45 | 5967.45
Fall 20% | 35122 | 32501.5679 | 29956.6588 | 27714.8813
40% Projection | 27714.8813 | 25868.2126 | 23947.5197 | 22883.0375 | 22793.6525 | 22555.1354 | 21633.4571 | 19671.3471 | 17487.5531 | 14985.7431 | 12457.3811 | 10070.5391 | 8112.7265 | 6388.8178 | 4586.9249 | 3645.2027
Scenario based on:
Actual runoff from 2020-2021
20% Conservation
40% Conservation
Uncertainty
Unusable

## Slide 12: Emergency Drought Projects
Project Component | Cost Range
Operational Cost | $5M - $7M
Capital Improvements | $25M - $30M
Total | $30M - $37M
Desalination – 3.6 TAF (3.6MGD)
Project delivery 12 months
Capacity limited
No desalination facilities have been constructed in SF Bay
Costly, temporary
Project Component | Cost Range
Water Purchase and Wheeling | $10M - $18M
Capital Improvements | $50M - $70M
Total | $60M - $88M
Water Transfers – 15 TAF (13.5 MGD)
Project delivery 12 months
Capacity adequate
Costly, long-term resilience

## Slide 13
Pipeline
Planning
2021
2022
Water Transfer
Pipeline Design & Construct
Today
Jun
Aug
Oct
33 days
Assess options
Jun 1 - Jul 15
8 days
Jul 9 - Jul 20
29 days
Negotiate terms
Jul 20 - Aug 27
Dec
Feb
Apr
Jun
62 days
Approve agreements
Aug 20 - Nov 15
74 days
Verify feasibility
Jun 1 - Sep 12
Call date
First water
Option payment
CEQA
Design
Construct
Fabrication of materials
Advertise for material purchases (pipe, valves, pumps, etc)
Award purchase contract(s)
Award construction contract(s)
Authorize design phase
Advertise for construction bid(s)
Regulatory processes: SWRQCB, CEQA, NEPA, USBR (any or all)
indicates Board decision required
13

## Slide 14
Taking an “all the above” approach
Regional Collaboration
“Hope for the best,
Plan for the worst”
Summary